## Detailed Unit Cost Estimates (hidden)
S.No | Norms | Description | Unit | Quantity | Unit Rate (AFN) |  | Total (AFN)
A.0 |  | Sign Board |  | 1 |  | 5000 | 6500
Note: Supply and install project signboards made from metallic 200X100 cm, design of signboard shall be approved by UNICEF
| 1 | Sign Board for Project | Ls | 1 | 5000 | 5000
A.1 |  | Site preparation |  | 1 |  | 100 | 130
Note: Site preparation this include site leveling (excavation or backfilling) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers directions with all required activities.
| 1 | Site Cleaning | m2 | 1 | 100 | 100
A.2 |  | Excavation |  | 1 |  | 200 | 260
Note: Excavation of all types of lands for foundation, Stairs, Walkway and Ramp as per design drawings and specifications with all required activities
| 1 | Excavator (Back Hoes) With Loading and Unloading, Complete | m³ | 1 | 100 | 100
| 1 | Removal of Extra Soil (With Loading Unloading) | m3 | 1 | 100 | 100
A.3 |  | Stone masonry |  | 1 |  | 2718 | 3533.4
|  | Note: Stone masonry in foundations and above foundation, with M1:4 as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 135.5 | 55.15 |  | 160
| 1.1 | Stone with transportation | m3 | 1.1 | 800 | 880
| 0.38 | Sand with transportation | m3 | 0.38 | 800 | 304
| 1.5 | Cement with Transportation | Bag | 1.5 | 380 | 570
| 200 | Water | Lit | 200 | 0.2 | 40
| 0.56 | Skilled Labor | md | 0.56 | 700 | 392 |  | 75.88 | 30.884 | 0 | 89.6 | 196.364
| 1.33 | Unskilled Labor | md | 1.33 | 400 | 532 |  | 180.215 | 73.3495 | 0 | 212.8 | 466.3645
A.4 |  | Back filling |  | 1 |  | 164 | 213.2
|  | Note: filling with soil including levelling and compaction of building floor as per design drawings, specification, and engineer directions with all required activities. | [5 empty] | 111.5 | 18.8469 |  | 32.4 | 162.7469
| 1 | Filling of Extra Soil (With Loading Unloading) | m3 | 1 | 100 | 100
| 0.16 | Unskilled Labor | md | 0.16 | 400 | 64 |  | 17.84 | 3.0155 |  | 5.184 | 26.0395
A.5 |  | Boulders |  | 1 |  | 632 | 821.6
|  | Note: Boulders placing with compaction for building floor and sidewalks with thickness of 15 cm as per design drawings, specification, and engineer directions with all required activities. | [5 empty] | 40 | 7.15 |  |  | 47.15
| 1 | Filling with boulders | m³ | 1 | 500 | 500 |  | 13.2 | 2.3595 |  |  | 15.5595
| 0.33 | Unskilled Labor | md | 0.33 | 400 | 132
A.6 |  | PCC (M150) |  | 1 |  | 4771.2 | 6202.56
|  | Note: PCC (M150) with formworks as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 61.5 | 9.7988 | 4.094 | 27.3 | 102.6927
| 0.4 | Sand with transportation | m3 | 0.4 | 800 | 320
| 0.8 | Crashed Gravel (18mm-25mm) | m3 | 0.8 | 700 | 560
| 5.8 | Cement with Transportation | Bag | 5.8 | 380 | 2204
| 0.25 | Concrete Mixing Machine | hr | 0.25 | 300 | 75
| 186 | Water | Lit | 186 | 0.2 | 37.2
| 0.25 | Skilled Labor | md | 0.25 | 700 | 175 |  | 15.375 | 2.4497 | 1.0235 | 6.825 | 25.6732
| 1 | Unskilled Labor | md | 1 | 400 | 400 |  | 61.5 | 9.7988 | 4.094 | 27.3 | 102.6927
| 10 | Wooden Form works | m2 | 10 | 100 | 1000
A.7 |  | RCC (M250) |  | 1 |  | 12315.2 | 16009.76
|  | Note: RCC (M250) with form works as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 80.5 | 14.8 |  | 2 | 97.3
| 0.4 | Sand with transportation | m3 | 0.4 | 800 | 320
| 0.74 | Crashed Gravel (18mm-25mm) | m3 | 0.74 | 700 | 518
| 8 | Cement with Transportation | Bag | 8 | 380 | 3040
| 0.25 | Concrete Mixing Machine | hr | 0.25 | 300 | 75
| 186 | Water | Lit | 186 | 0.2 | 37.2
| 0.25 | Skilled Labor | md | 0.25 | 700 | 175 |  | 20.125 | 3.7 | 0 | 0.5 | 24.325
| 1 | Unskilled Labor | md | 1 | 400 | 400 |  | 80.5 | 14.8 | 0 | 2 | 97.3
| 90 | Steel Bars With Transportation | KG | 90 | 75 | 6750
| 10 | Wooden Form works | m2 | 10 | 100 | 1000
A.8 |  | Burnt brick masonry |  | 1 |  | 3984 | 5179.2
|  | Note: Burnt brick masonry with M1:4 as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 110 | 23 |  | 86.1
| 550 | Brick with transportation | No | 550 | 4 | 2200
| 0.33 | Sand with transportation | m3 | 0.33 | 800 | 264
| 1.25 | Cement with Transportation | Bag | 1.25 | 380 | 475
| 200 | Water | Lit | 200 | 0.2 | 40
| 0.67 | Skilled Labor | md | 0.67 | 700 | 469 |  | 73.7 | 15.41 | 0 | 57.687 | 146.797
| 1.34 | Unskilled Labor | md | 1.34 | 400 | 536 |  | 17.6 | 3.68 | 0 | 13.776 | 35.056
A.9 |  | Burnt brick pieces |  | 1 |  | 2064 | 2683.2
|  | Note: Burnt brick pieces for insulation as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 35 | 3.5
| 1 | Brick Peaces | m³ | 1 | 2000 | 2000
| 0.16 | Unskilled Labor | md | 0.16 | 400 | 64 |  | 5.6 | 0.56 |  |  | 6.16
A.10 |  | Construction of blackboard |  | 1 |  | 642 | 834.6
|  | Note: Construction of blackboard with cement mortar along with special paint application as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 17
| 0.09 | Sand with transportation | m3 | 0.09 | 800 | 72
| 1 | Cement with Transportation | Bag | 1 | 380 | 380
| 200 | Water | Lit | 200 | 0.2 | 40 |  | 1.7 |  |  |  | 1.7
| 0.1 | Skilled Labor | md | 0.1 | 700 | 70 |  | 3.4 |  |  |  | 3.4
| 0.2 | Unskilled Labor | md | 0.2 | 400 | 80
B.1 |  | Supply and installation of wooden windows |  | 1 |  | 2500 | 3250
Note:Supply and installation of wooden windows, including accessories, and aluminum fly screens as per design drawings, specification and engineers’ directions with all required activities
| 1 | Supply and installation of windows With oil painting and All required activities | m2 | 1 | 2500 | 2500
B.2 |  | Supply and installation of wooden doors |  | 1 |  | 3500 | 4550
Note: Supply and installation of wooden doors, including accessories as per design drawings, specification and engineers’ directions with all required activities
| 1 | Supply and installation door with oil painting and all required activities | m2 | 1 | 3500 | 3500
B.3 |  | cement plaster |  | 1 |  | 208.55 | 271.115
|  | Note: Interior cement plaster for walls and ceilings with M1:3 as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 1158 | 237 |  | 735
| 0.022 | Sand with transportation | m3 | 0.022 | 800 | 17.6
| 0.0025 | Cement with Transportation | Bag | 0.0025 | 380 | 0.95
| 200 | Water | Lit | 200 | 0.2 | 40
| 0.1 | Skilled Labor | md | 0.1 | 700 | 70 |  | 115.8 | 23.7 | 0 | 73.5 | 213
| 0.2 | Unskilled Labor | md | 0.2 | 400 | 80 |  | 231.6 | 47.4 | 0 | 147 | 426
B.5 |  | Marbal |  |  |  | 1200 | 1560
Note: Afghan white marble for windows sill (bottom) with 2.5cm thickness as per design drawings, specification and engineers’ directions with all required activities
| 1 | Supply and installation of marble | m2 | 1 | 1200 | 1200
B.6 |  | Stone pointing |  | 1 |  | 104.98 | 136.474
|  | Note: Stone masonry (beaded pointing) with M1:3 as per design drawings, specification and engineers’ directions with all required activities | [5 empty] | 18.5 | 68.5 |  | 210
| 0.0032 | Sand with transportation | m3 | 0.0032 | 800 | 2.56
| 0.031 | Cement with Transportation | Bag | 0.031 | 380 | 11.78
| 3.2 | Water | Lit | 3.2 | 0.2 | 0.64
| 0.1 | Skilled Labor | md | 0.1 | 700 | 70 |  | 1.85 | 6.85 |  | 21 | 29.7
| 0.05 | Unskilled Labor | md | 0.05 | 400 | 20 |  | 0.925 | 3.425 |  | 10.5 | 14.85
B.7 |  | Wooden frame installation for blackboard |  |  |  | 200 | 260
Note: Wooden frame installation for blackboard as per design drawings, specification and engineers’ directions with all required activities.
| 1 | Supply and installation of wooden Frame for board with all required activities | m | 1 | 200 | 200
B.8 |  | construction of chimney |  | 1 |  | 2644 | 3437.2
Note: Complete construction of chimney, concrete pipe, brickworks, chimney cap, precast concrete chimney cover and GI sheet as per design drawings, specification and engineers’ directions with all required activities.
| 60 | Brick with transportation | No | 60 | 4 | 240
| 0.33 | Sand with transportation | m3 | 0.33 | 800 | 264
| 1.25 | Cement with Transportation | Bag | 1.25 | 380 | 475
| 200 | Water | Lit | 200 | 0.2 | 40
| 0.67 | Skilled Labor | md | 0.67 | 700 | 469
| 1.34 | Unskilled Labor | md | 1.34 | 400 | 536
| 1.4 | Supply and installation chimney pipe | m | 1.4 | 300 | 420
| 1 | Supply and installation of chimney cover | No | 1 | 200 | 200
B.9 |  | Vertical roof gutters |  |  |  | 400 | 520
Note: Vertical roof gutters from GI sheet 22 gauge 12x20 cm as per design drawings, specification and engineers’ directions with all required activities.
| 1 | Supply and installation of roof gutters | m | 1 | 400 | 400
B.10 |  | Interior latex wall and ceilling painting |  |  |  | 200 | 260
Note: Interior latex wall and ceilling painting 75 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities
| 1 | 75% Paint with painting with all required activities | m2 | 1 | 200 | 200
B.11 |  | Isogum (Waterproofing) |  |  |  | 200 | 260
Note: Isogum (Waterproofing) 5mm thick as per design drawings, specification and engineers’ directions with all required activities.
|  | supply and installation of isogum | m2 | 1 | 200 | 200
B.12 |  | Exterior latex wall and parapet painting |  |  |  | 250 | 325
Note: Exterior latex wall and parapet painting 100 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities
| 1 | 100% Paint with painting with all required activities | m2 | 1 | 250 | 250
B.13 |  | Handrails installation |  |  |  | 2500 | 3250
Note: Handrails installation as per design drawings, specification and engineers’ directions with all required activities
| 1 | Supply and installation of handrailings | m | 1 | 2500 | 2500
B.14 |  | Covering parapet wall with 24 gauge GI |  |  |  | 400 | 520
Note: Covering the top of the parapet wall with 24 gauge GI sheet as per design drawings, specification and engineers’ directions with all required activities.
| 1 | Gi Sheet | m2 | 1 | 400 | 400
C.1 |  | Lights |  |  |  | 400 | 520
Note: LED surface mounting fixture 18 X 18 X 4 cm 25W 220V 50hz as per design drawings, specification and engineers’ directions with all required activities.
|  | Supply and installation of LED Lights | No | 1 | 400 | 400
C.2 |  | Double pole switches |  |  |  | 250 | 325
Note: Double pole switches 10 Amps under plaster as per design drawings, specification and engineers’ directions with all required activities.
C.2.a |  | Double pole switches | No | 1 | 250 | 250
C.3 |  | Single pole switches |  |  |  | 200 | 260
Note: Single pole switches 10 Amps under plaster as per design drawings, specification and engineers’ directions with all required activities.
C.3.a |  | Single pole switches 10 Amps | No | 1 | 200 | 200
C.4 |  | Socket 16 Amp |  |  |  | 250 | 325
Note: Socket 16 Amp under plaster as per design drawings, specification and engineers’ directions with all required activities.
C.4.a |  | Socket 16 Amp | No | 1 | 250 | 250
C.5 |  | Copper Wire 1 X 2.5mm² for lighting |  |  |  | 50 | 65
Note: Copper Wire 1 X 2.5mm² for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.5.a |  | Copper Wire 2.5mm 2 | m | 1 | 50 | 50
C.6 |  | Copper Wire 1 X 4mm² for power |  |  |  | 60 | 78
Copper Wire 1 X 4mm² for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.6.a |  | Copper Wire 4mm2 | m | 1 | 60 | 60
C.7 |  | PVC conduit 1" or 25mm |  |  |  | 20 | 26
Note: PVC conduit 1" or 25mm including fittings as per design drawings, specification and engineers’ directions with all required activities.
C.7.a |  | PVC conduit 25 mm | m | 1 | 20 | 20
C.8 |  | PVC conduit 3" or 75mm |  |  |  | 25 | 32.5
Note:PVC conduit 3" or 75mm including fittings as per design drawings, specification and engineers’ directions with all required activities.
C.8.a |  | PVC conduit 75mm | m | 1 | 25 | 25
C.9 |  | Copper Cable 3 X25mm² or 2 X 25mm² + 1 X25mm² |  |  |  | 1000 | 1300
Note: Copper Cable3 X25mm² or 2 X 25mm² + 1 X25mm² for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.9.a |  | Copper Cable 3x25mm2 | m | 1 | 1000 | 1000
C.10 |  | Grounding rods (Cu) 2.5 m length 16mm diameter |  |  |  | 1000 | 1300
Note: Grounding rods (Cu) 2.5 m length 16mm diameter as per design drawings, specification and engineers’ directions with all required activities.
C.10.a |  | Grounding Rod | set | 1 | 1000 | 1000
C.11 |  | Circuit breaker 20 Amp |  |  |  | 400 | 520
Note: Circuit breaker 20 Amp for power receptacle as per design drawings, specification and engineers’ directions with all required activities.
C.11.a |  | Circuit breaker 20amp | No | 1 | 400 | 400
C.12 |  | Circuit breaker 10 Amp |  |  |  | 320 | 416
Note: Circuit breaker 10 Amp for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.12.a |  | Circuit breaker 10 amp | No | 1 | 320 | 320
C.13 |  | Distribution Box 30 x 45cm 22 gauge |  |  |  | 2500 | 3250
Note: Distribution Box 30 x 45cm 22 gauge as per design drawings, specification and engineers’ directions with all required activities.
C.13.a |  | Distribution Box | No | 1 | 2500 | 2500
C.14 |  | MCB 63 Apms |  |  |  | 600 | 780
Note: MCB 63 Apms for distribtion box Two port (Single Phase) as per design drawings, specification and engineers’ directions with all required activities.
C.14.a |  | MCB 63 Apms | No | 1 | 600 | 600
C.15 |  | Joint box |  |  |  | 100 | 130
Note: Joint box as per design drawings, specification and engineers’ directions with all required activities.
C.15.a |  | Joint box | No | 1 | 100 | 100
C.16 |  | Insulation Tape |  |  |  | 20 | 26
Note: Insulation Tape as per design drawings, specification and engineers’ directions with all required activities.
C.16.a |  | Insulation Tape | No | 1 | 20 | 20
C.17 |  | Single device gnag (Boxes) |  |  |  | 800 | 1040
Note: Single device gnag (Boxes) as per design drawings, specification and engineers’ directions with all required activities.
C.17.a |  | Single device gnag (Boxes) | No | 1 | 800 | 800
C.18 |  | 320 Watt Monocrystalline PhotoVoltaic (PV) Solar Modules -Module peak power at STC [W]= = 320; -25 years’ linear performance guarantee (90% up to 10 years); -Positive Power tolerance >= 3%; -Open circuit voltage Voc [V] =45.72; -Short-circuit current Isc [A] =9.28, -Voltage at max power Vmp [V] =36.75, -Current at max power Imp [A] =8.71, -Max System Voltage [V] = 1000. 1) The crystalline silicon panels should meet the minimum requirement of IEC-61215-2 / IEC-61730-1-2. 2) Crystalline modules shall be equipped with bypass diode(s) located in the PV module junction box. 3) Replacement of bypass diode shall be possible without replacing the module. 4) All modules shall be Class II (according IEC 60364-4-41) and the efficiency shall be greater than 18% at STC conditions. 5) The encapsulation shall withstand snow, rain, dust, and thermal fatigue and shall be abrasion resistant during the requested lifetime (25 years). 6) PV Array and PV Sub-array junction boxes exposed to the environment shall be at least IP 65 compliant in accordance with IEC 60529, and shall be UV resistant. | No | 20 |  | 25000 | 32500
|  | Solar Panesl | No |  | 25000
C.19 |  | Advanced Solar Inverter + MPPT, with battery equalization function, supports LiFePO4 batteries, with battery use optional and built-in MPPT solar charger Paralleling option - up to 12 units • Rated Power: 6000W • Maximum PV Array Open Circuit Voltage: 1000Vdc • 1 Phase, AC Ouput • With in-built Charge Controller • Inverting DC to AC Simultanuousely charge the batteries and directly run the load during the sun hours. • Battery Voltage: 48Vdc • MPPT Solar Charge Current: 100A • Maximum PV Array Power: 6000W • Communication Interface: USB/RS232 1 Year Product Warranty 2 pcs connected in parallel: 11kW Warranty: 12 months (manufacturer) | No | 1 |  | 35000 | 45500
|  | Power inverter | No |  | 35000
C.20 |  | 200 Ah Sealed Lead Acid, Maintenance-Free, Deep Cycle, GEL Batteries - Fast Charging Technology -Capacity: 200Ah@10hr-rate -Voltage per unit: 12Vdc -Maximum Discharge Current: 2000A (5 sec) -Operating Temperature Range: -20°C ~ 60°C -Warranty: 12 months (manufacturer) | No | 20 |  | 18000 | 23400
|  | Batteries | No |  | 18000
C.21 |  | Supply and Installation of high quality GI structure for mounting of SOLAR PANELS frame / structure, completing of works with all its included details. | set | 1 |  | 25000 | 32500
|  | Solar frame | No |  | 25000
C.22 |  | Supply and installation of high quality Array Junction box with all accessories for outdoor usage with weather proof enclosure. -Each junction boxes shall be provided with suitable metal oxide varistors ( Mov's) / surge arresters, one fuse, one spd & one DC breaker per string. - Including Earthing/Grounding | No | 1 |  | 4000 | 5200
|  | Junction Box | No |  | 4000
C.23 |  | Copper Conductor for connection of PV to Inverter Supply and installation of(2*6 mm2) Multi strand Annealed high conductivity copper conductor FRLS PVC insulated 1000 V rating flexible wires for D.C side in the existing PVC conduit | m | 200 |  | 80 | 104
|  | Coper conductor for batteries | No |  | 80
C.24 |  | Copper Conductor for connection of Batteries with Inverter -conductor Size= 25mm2; -Voltage Rating: 100VDC; -conductor & battery clamps material= Copper with double insulation The clamps for battery connection should have precise dimensions to fit battery posts for maximum contact and have best balance of conductivity and durability. | m | 10 |  | 80 | 104
|  | Coper conductor for batteries | No |  | 80
1174.4628
639.2592

## Material Costs (hidden)
| Item | Unit | Unit cost(Afs)
1 | Filling of Extra Soil (With Loading Unloading) | m3 | 100
2 | Crashed Gravel (18mm-25mm) | m3 | 700
3 | Sand with transportation | m3 | 800
4 | Cement with Transportation | Bag | 380
5 | Water | Lit | 0.2
6 | Steel Bars With Transportation | KG | 75
7 | Stone with transportation | m3 | 800
8 | Sign Board for Project | Ls | 5000
9 | Site Cleaning | Ls | 100
10 | Skilled Labor | md | 700
11 | Unskilled Labor | md | 400
12 | Concrete Mixing Machine | hr | 300
13 | Removal of Extra Soil (With Loading Unloading) | m3 | 80
14 | Excavator (Back Hoes) With Loading and Unloading, Complete | m³ | 100
15 | Filling with boulders | m³ | 500
16 | Wooden Form works | m2 | 100
17 | Brick with transportation | No | 4
18 | Brick Peaces | m³ | 2000
19 | Supply and installation of windows With oil painting and All required activities | m2 | 2500
20 | Supply and installation door with oil painting and all required activities | m2 | 3500
21 | Supply and installation of marble | m2 | 1200
22 | Supply and installation of wooden Frame for board with all required activities | m | 200
23 | Supply and installation chimney pipe | m | 300
24 | Supply and installation of chimney cover | No | 200
25 | Supply and installation of roof gutters | m | 400
26 | 75% Paint with painting with all required activities | m2 | 200
27 | supply and installation of isogum | m2 | 200
28 | 100% Paint with painting with all required activities | m2 | 250
29 | Gi Sheet | m2 | 400
30 | Supply and installation of handrailings | m | 2500
31 | Supply and installation of LED Lights | No | 400
32 | Double pole switches | No | 250
33 | Single pole switches 10 Amps | No | 200
34 | Socket 16 Amp | No | 250
35 | Copper Wire 2.5mm 2 | m | 50
36 | Copper Wire 4mm2 | m | 60
37 | PVC conduit 25 mm | m | 20
38 | PVC conduit 75mm | m | 25
39 | Copper Cable 3x25mm2 | m | 1000
40 | Grounding Rod | set | 1000
41 | Circuit breaker 20amp | No | 400
42 | Circuit breaker 10 amp | No | 320
43 | Distribution Box | No | 2500
44 | MCB 63 Apms | No | 600
45 | Joint box | No | 100
46 | Insulation Tape | No | 20
47 | Solar Panesl | No | 25000
48 | Power inverter | No | 35000
49 | Batteries | No | 18000
50 | Solar frame | No | 25000
51 | Junction Box | No | 4000
52 | Coper conductor for batteries | No | 80
53 | Single device gnag (Boxes) | No | 800
54 | Shade structure | m2 | 4500

## Construction of 6+1 Classrooms
Construction of 6+1 Classrooms
S.No | Description | Unit | Quantity | Unit Rate (AFN) | Total (AFN)
A-Civil Works
A.0 | Sign Board
Note: Supply and install project signboards made from metallic 200X100 cm, design of signboard shall be approved by UNICEF
A.0.a | Sign board | No | 1 | 6500 | 6500
A.1 | Site preparation
Note: Site preparation this include site leveling (excavation or backfilling) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers directions with all required activities.
A.1.a | Building Area | m2 | 400 | 130 | 52000
A.1.b | Demolition of Existing Building | Lump Sum | 1 | 100000 | 100000
A.2 | Excavation
Note: Excavation of all types of lands for foundation, Stairs, Walkway and Ramp as per design drawings and specifications with all required activities
A.2.a | Foundation | m3 | 120.31 | 260 | 31280.6
A.2.b | Stairs | m3 | 3 | 260 | 780
A.2.c | Walkway | m3 | 12 | 260 | 3120
A.2.d | Ramp | m3 | 1 | 260 | 260
A.3 | Stone masonry
Note: Stone masonry in foundations and above foundation, with M1:4 as per design drawings, specification and engineers’ directions with all required activities
A.3.a | Foundation | m3 | 97 | 3533.4 | 342739.8
A.3.b | Stairs | m3 | 2.5 | 3533.4 | 8833.5
A.3.c | Walkway | m3 | 8 | 3533.4 | 28267.2
A.3.d | Ramp | m3 | 1 | 3533.4 | 3533.4
A.3.e | Flowers Pot | m3 | 0.5 | 3533.4 | 1766.7
A.3.f | Stone Masonry above foundation | m3 | 26.5 | 3533.4 | 93635.1
A.4 | Back filling
Note: filling with soil including levelling and compaction of building floor as per design drawings, specification, and engineer directions with all required activities.
A.4.a | Back filling Foundation | m3 | 24 | 213.2 | 5116.8
A.4.b | Back filling Stairs | m3 | 0.5 | 213.2 | 106.6
A.4.c | Back filling Walkway | m3 | 3.5 | 213.2 | 746.2
A.4.d | Back Filling Ramp | m3 | 0.5 | 213.2 | 106.6
A.4.e | Buliding floor | m3 | 83 | 213.2 | 17695.6
A.5 | Boulders
Note: Boulders placing with compaction for building floor and sidewalks with thickness of 15 cm as per design drawings, specification, and engineer directions with all required activities.
A.5.a | Inside of Building and walkway | m3 | 40 | 821.6 | 32864
A.6 | PCC (M150)
Note: PCC (M150) with formworks as per design drawings, specification and engineers’ directions with all required activities
A.6.a | Floor | m3 | 26.5 | 6202.56 | 164367.84
A.6.b | Stairs | m3 | 2 | 6202.56 | 12405.12
A.6.c | Walkway | m3 | 6.5 | 6202.56 | 40316.64
A.6.d | Ramp | m3 | 0.5 | 6202.56 | 3101.28
A.6.e | Roof | m3 | 24.5 | 6202.56 | 151962.72
A.6.f | Windows sill (bottom) | m3 | 1 | 6202.56 | 6202.56
A.6.g | Flowers Pot | m3 | 0.5 | 6202.56 | 3101.28
A.7 | RCC (M250)
Note: RCC (M250) with form works as per design drawings, specification and engineers’ directions with all required activities
A.7.a | Ring Beam | m3 | 16 | 16009.76 | 256156.16
A.7.b | Drope Beams | m3 | 11.5 | 16009.76 | 184112.24
A.7.c | Slabs | m3 | 50 | 16009.76 | 800488
A.7.d | Parapet | m3 | 3 | 16009.76 | 48029.28
A.8 | Burnt brick masonry
Note: Burnt brick masonry with M1:4 as per design drawings, specification and engineers’ directions with all required activities
A.8.a | Walls | m3 | 110 | 5179.2 | 569712
A.9 | Burnt brick pieces
Note: Burnt brick pieces for insulation as per design drawings, specification and engineers’ directions with all required activities
A.9.a | Roof | m3 | 35 | 2683.2 | 93912
A.10 | Construction of blackboard
Note: Construction of blackboard with cement mortar along with special paint application as per design drawings, specification and engineers’ directions with all required activities
A.10.a | Blackboard | m2 | 17 | 834.6 | 14188.2
Total of A- Civil Works |  |  |  |  | 3077407.42
B Finishing
B.1 | Supply and installation of wooden windows
Note:Supply and installation of wooden windows, Oil painting, including accessories, glasses and aluminum fly screens as per design drawings, specification and engineers’ directions with all required activities
B.1.a | Windows 1 | m2 | 39 | 3250 | 126750
B.1.b | Windows 2 | m2 | 6 | 3250 | 19500
B.1.c | Windows 3 | m2 | 3.5 | 3250 | 11375
B.2 | Supply and installation of wooden doors
Note: Supply and installation of wooden doors,Oil painting, including accessories and glasses as per design drawings, specification and engineers’ directions with all required activities
B.2.a | Door 1 | m2 | 18 | 4550 | 81900
B.2.b | Door 2 | m2 | 10 | 4550 | 45500
B.2.c | Door 3 | m2 | 11 | 4550 | 50050
B.3 | Interior cement plaster
Note: Interior cement plaster for walls and ceilings with M1:3 as per design drawings, specification and engineers’ directions with all required activities
B.3.a | Walls | m2 | 536.5 | 271.115 | 145453.1975
B.3.b | Ceiling | m2 | 255 | 271.115 | 69134.325
B.4 | Exterior cement plaster
Note: Exterior cement plaster for walls and parapets with M1:3 as per design drawings, specification and engineers’ directions with all required activities
B.4.a | Walls | m2 | 239.5 | 271.115 | 64932.0425
B.4.b | Parapet | m2 | 127 | 271.115 | 34431.605
B.5 | Marbal
Note: Afghan white marble for windows sill (bottom) with 2.5cm thickness as per design drawings, specification and engineers’ directions with all required activities
B.5.a | Windows1 | m2 | 14.5 | 1560 | 22620
B.5.b | Windows2 | m2 | 4 | 1560 | 6240
B.6 | Stone pointing
Note: Stone masonry (beaded pointing) with M1:3 as per design drawings, specification and engineers’ directions with all required activities
B.6.a | Plinth | m2 | 17.5 | 136.474 | 2388.295
B.6.b | Ramp | m2 | 1 | 136.474 | 136.474
B.7 | Wooden frame installation for blackboard
Note: Wooden frame installation for blackboard as per design drawings, specification and engineers’ directions with all required activities.
B.7.a | Wooden Frame for black board | Lm | 34.5 | 260 | 8970
B.8 | construction of chimney
Note: Complete construction of chimney, concrete pipe, brickworks, chimney cap, precast concrete chimney cover and GI sheet as per design drawings, specification and engineers’ directions with all required activities.
B.8.a | Chimney | No | 7 | 3437.2 | 24060.4
B.9 | Vertical roof gutters
Note: Vertical roof gutters from GI sheet 22 gauge 12x20 cm as per design drawings, specification and engineers’ directions with all required activities.
B.9.a | Gutters work (Vertical from GI sheet 24 gage 12X20 cm) | Lm | 19 | 520 | 9880
B.10 | Interior latex wall and ceilling painting
Note: Interior latex wall and ceilling painting 75 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities
B.10 | Walls | m2 | 536.5 | 260 | 139490
B.10.a | Ceiling | m2 | 255.5 | 260 | 66430
B.11 | Isogum (Waterproofing)
Note: Isogum (Waterproofing) 5mm thick as per design drawings, specification and engineers’ directions with all required activities.
B.11.a | Floor | m2 | 262.5 | 260 | 68250
B.11.b | Roof | m2 | 350.75 | 260 | 91195
B.12 | Exterior latex wall and parapet painting
Note: Exterior latex wall and parapet painting 100 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities
B.12.a | Walls | m2 | 239.5 | 325 | 77837.5
B.12.b | Parapet | m2 | 127 | 325 | 41275
B.13 | Handrails installation
Note: Handrails installation as per design drawings, specification and engineers’ directions with all required activities
B.13.a | Handrail | Lm | 8 | 3250 | 26000
B.14 | Covering parapet wall with 24 gauge GI
Note: Covering the top of the parapet wall with 24 gauge GI sheet as per design drawings, specification and engineers’ directions with all required activities.
B.14.a | Parapet | m2 | 18 | 520 | 9360
Total of B- Finishing |  |  |  |  | 1243158.839
C Electrical Works
C.1 | Lights
Note: LED surface mounting fixture 18 X 18 X 4 cm 25W 220V 50hz as per design drawings, specification and engineers’ directions with all required activities.
C.1.a | LED Lights | No | 33 | 520 | 17160
C.2 | Double pole switches
Note: Double pole switches 10 Amps under plaster as per design drawings, specification and engineers’ directions with all required activities.
C.2.a | Double pole switches | No | 6 | 325 | 1950
C.3 | Single pole switches
Note: Single pole switches 10 Amps under plaster as per design drawings, specification and engineers’ directions with all required activities.
C.3.a | Single pole switches 10 Amps | No | 6 | 260 | 1560
C.4 | Socket 16 Amp
Note: Socket 16 Amp under plaster as per design drawings, specification and engineers’ directions with all required activities.
C.4.a | Socket 16 Amp | No | 25 | 325 | 8125
C.5 | Copper Wire 1 X 2.5mm² for lighting
Note: Copper Wire 1 X 2.5mm² for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.5.a | Copper Wire | Lm | 560 | 65 | 36400
C.6 | Copper Wire 1 X 4mm² for power
Copper Wire 1 X 4mm² for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.6.a | Copper Wire | Lm | 450 | 65 | 29250
C.7 | PVC conduit 1" or 25mm
Note: PVC conduit 1" or 25mm including fittings as per design drawings, specification and engineers’ directions with all required activities.
C.7.a | PVC conduit | Lm | 350 | 26 | 9100
C.8 | PVC conduit 3" or 75mm
Note:PVC conduit 3" or 75mm including fittings as per design drawings, specification and engineers’ directions with all required activities.
C.8.a | PVC conduit | Lm | 30 | 32.5 | 975
C.9 | Copper Cable 3 X25mm² or 2 X 25mm² + 1 X25mm²
Note: Copper Cable3 X25mm² or 2 X 25mm² + 1 X25mm² for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.9.a | Copper Cable | Lm | 30 | 1300 | 39000
C.10 | Grounding rods (Cu) 2.5 m length 16mm diameter
Note: Grounding rods (Cu) 2.5 m length 16mm diameter as per design drawings, specification and engineers’ directions with all required activities.
C.10.a | Grounding Rod | Set | 1 | 1300 | 1300
C.11 | Circuit breaker 20 Amp
Note: Circuit breaker 20 Amp for power receptacle as per design drawings, specification and engineers’ directions with all required activities.
C.11.a | Circuit breaker | No | 8 | 520 | 4160
C.12 | Circuit breaker 10 Amp
Note: Circuit breaker 10 Amp for lighting as per design drawings, specification and engineers’ directions with all required activities.
C.12.a | Circuit breaker | No | 8 | 416 | 3328
C.13 | Distribution Box 30 x 45cm 22 gauge
Note: Distribution Box 30 x 45cm 22 gauge as per design drawings, specification and engineers’ directions with all required activities.
C.13.a | Distribution Box | No | 1 | 3250 | 3250
C.14 | MCB 63 Apms
Note: MCB 63 Apms for distribtion box Two port (Single Phase) as per design drawings, specification and engineers’ directions with all required activities.
C.14.a | MCB 63 Apms | No | 1 | 780 | 780
C.15 | Joint box
Note: Joint box as per design drawings, specification and engineers’ directions with all required activities.
C.15.a | Joint box | No | 15 | 130 | 1950
C.16 | Insulation Tape |  |  |  | 0
| Note: Insulation Tape as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
C.16.a | Insulation Tape | Roll | 10 | 26 | 260
C.17 | Single device gnag (Boxes) |  |  |  | 0
| Note: Single device gnag (Boxes) as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
C.17.a | Single device gnag (Boxes) | No | 40 | 1040 | 41600
C.18 | 320 Watt Monocrystalline PhotoVoltaic (PV) Solar Modules -Module peak power at STC [W]= = 320; -25 years’ linear performance guarantee (90% up to 10 years); -Positive Power tolerance >= 3%; -Open circuit voltage Voc [V] =45.72; -Short-circuit current Isc [A] =9.28, -Voltage at max power Vmp [V] =36.75, -Current at max power Imp [A] =8.71, -Max System Voltage [V] = 1000. 1) The crystalline silicon panels should meet the minimum requirement of IEC-61215-2 / IEC-61730-1-2. 2) Crystalline modules shall be equipped with bypass diode(s) located in the PV module junction box. 3) Replacement of bypass diode shall be possible without replacing the module. 4) All modules shall be Class II (according IEC 60364-4-41) and the efficiency shall be greater than 18% at STC conditions. 5) The encapsulation shall withstand snow, rain, dust, and thermal fatigue and shall be abrasion resistant during the requested lifetime (25 years). 6) PV Array and PV Sub-array junction boxes exposed to the environment shall be at least IP 65 compliant in accordance with IEC 60529, and shall be UV resistant. | No | 20 | 32500 | 650000
C.19 | Advanced Solar Inverter + MPPT, with battery equalization function, supports LiFePO4 batteries, with battery use optional and built-in MPPT solar charger Paralleling option - up to 12 units • Rated Power: 6000W • Maximum PV Array Open Circuit Voltage: 1000Vdc • 1 Phase, AC Ouput • With in-built Charge Controller • Inverting DC to AC Simultanuousely charge the batteries and directly run the load during the sun hours. • Battery Voltage: 48Vdc • MPPT Solar Charge Current: 100A • Maximum PV Array Power: 6000W • Communication Interface: USB/RS232 1 Year Product Warranty 2 pcs connected in parallel: 11kW Warranty: 12 months (manufacturer) | No | 1 | 45500 | 45500
C.20 | 200 Ah Sealed Lead Acid, Maintenance-Free, Deep Cycle, GEL Batteries - Fast Charging Technology -Capacity: 200Ah@10hr-rate -Voltage per unit: 12Vdc -Maximum Discharge Current: 2000A (5 sec) -Operating Temperature Range: -20°C ~ 60°C -Warranty: 12 months (manufacturer) | No | 20 | 23400 | 468000
C.21 | Supply and Installation of high quality GI structure for mounting of SOLAR PANELS frame / structure, completing of works with all its included details. | set | 1 | 32500 | 32500
C.22 | Supply and installation of high quality Array Junction box with all accessories for outdoor usage with weather proof enclosure. -Each junction boxes shall be provided with suitable metal oxide varistors ( Mov's) / surge arresters, one fuse, one spd & one DC breaker per string. - Including Earthing/Grounding | No | 1 | 5200 | 5200
C.23 | Copper Conductor for connection of PV to Inverter Supply and installation of(2*6 mm2) Multi strand Annealed high conductivity copper conductor FRLS PVC insulated 1000 V rating flexible wires for D.C side in the existing PVC conduit | m | 200 | 104 | 20800
C.24 | Copper Conductor for connection of Batteries with Inverter -conductor Size= 25mm2; -Voltage Rating: 100VDC; -conductor & battery clamps material= Copper with double insulation The clamps for battery connection should have precise dimensions to fit battery posts for maximum contact and have best balance of conductivity and durability. | m | 10 | 104 | 1040
Total of C- Electrical |  |  |  |  | 1423188
Summary
Total of A- Civil Works |  |  |  |  | 3077407.42
Total of B- Finishing |  |  |  |  | 1243158.839
Total of C- Electrical |  |  |  |  | 1423188
Grand Total |  |  |  |  | 5743754.259

## Construction of 4+1 Dry Latrine
Construction of 4 + 1 Dry Latrine
S.No | Description | Unit | Quantity | Unit Rate (AFN) | Total (AFN)
A-Civil Works
A.1 | Site preparation
Note: Site preparation this include site leveling (excavation or backfilling) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers directions with all required activities.
A.1.a | Building Area | m2 | 87.5 | 130 | 11375
A.2 | Excavation
Note: Excavation of all types of lands for foundation, Stairs, Walkway and Ramp as per design drawings and specifications with all required activities
A.2.a | Foundation | m3 | 23.5 | 260 | 6110
A.2.b | Stairs | m3 | 0.5 | 260 | 130
A.2.c | Ramp | m3 | 7 | 260 | 1820
A.2.d | Wastage | m3 | 5.7544 | 260 | 1496.1375
A.2.e | Walkway | m3 | 2.5 | 260 | 650
| Soak Pit | m3 | 1 | 260 | 260
A.3 | Stone masonry
Note: Stone masonry in foundations and above foundation, with M1:4 as per design drawings, specification and engineers’ directions with all required activities
A.3.a | Latrine foundation | m3 | 18.25 | 3533.4 | 64484.55
A.3.b | Stairs foundation | m3 | 0.4 | 3533.4 | 1413.36
A.3.c | Ramp foundation | m3 | 5 | 3533.4 | 17667
A.3.d | Wastage foundation | m3 | 4.5 | 3533.4 | 15900.3
A.3.e | Above latrine foundation | m3 | 19 | 3533.4 | 67134.6
A.3.f | Stone Masonry above foundation Ramp | m3 | 4 | 3533.4 | 14133.6
A.3.g | Stone Masonry above foundation Wastage | m3 | 4 | 3533.4 | 14133.6
A.4 | filling
Note: filling with soil including levelling and compaction of building floor as per design drawings, specification, and engineer directions with all required activities.
A.4.a | Back filling Foundation | m3 | 5.2 | 213.2 | 1108.64
A.4.b | Back filling Stairs | m3 | 0.2 | 213.2 | 42.64
A.4.c | Back filling Ramp | m3 | 1.75 | 213.2 | 373.1
A.4.d | Back filling Wastage | m3 | 1.25 | 213.2 | 266.5
A.4.e | Back filling Walkway | m3 | 0.5 | 213.2 | 106.6
A.4.f | Corridor | m3 | 5.2 | 213.2 | 1108.64
A.4.g | Stairs | m3 | 0.74694 | 213.2 | 159.2471
A.4.h | Ramp | m3 | 4 | 213.2 | 852.8
A.5 | Boulders
Note: Boulders placing with compaction for building floor and sidewalks with thickness of 15 cm as per design drawings, specification, and engineer directions with all required activities.
A.5.a | Corridor | m3 | 1.2 | 821.6 | 985.92
A.5.b | Stairs | m3 | 0.6 | 821.6 | 492.96
A.5.c | Bottom of latrine | m3 | 0.6 | 821.6 | 492.96
A.5.d | Wastage | m3 | 1.25 | 821.6 | 1027
A.5.e | Ramp | m3 | 1 | 821.6 | 821.6
A.5.f | Walkway | m3 | 2.5 | 821.6 | 2054
A.6 | PCC (M150)
Note: PCC (M150) with formworks as per design drawings, specification and engineers’ directions with all required activities
A.6.a | Corridor | m3 | 1 | 6202.56 | 6202.56
A.6.b | Stairs | m3 | 0.5 | 6202.56 | 3101.28
A.6.c | Bottom of latrine | m3 | 0.5 | 6202.56 | 3101.28
A.6.d | Wastage | m3 | 1 | 6202.56 | 6202.56
A.6.e | Ramp | m3 | 1.5987 | 6202.56 | 9916.3428
A.6.f | Walkway | m3 | 1.7 | 6202.56 | 10544.352
A.6.g | Top Slab | m3 | 3.5 | 6202.56 | 21708.96
A.7 | RCC (M250)
Note: RCC (M250) with form works as per design drawings, specification and engineers’ directions with all required activities
A.7.a | foundation Tie beam | m3 | 3 | 16009.76 | 48029.28
A.7.b | wastage foundation Tie beam | m3 | 0.8 | 16009.76 | 12807.808
A.7.c | Top Ring beam | m3 | 2.3 | 16009.76 | 36822.448
A.7.d | Top Slab | m3 | 5.7 | 16009.76 | 91255.632
A.7.e | Slab Parapet Wall | m3 | 1 | 16009.76 | 16009.76
A.7.f | Wastages slabs (1.6mx0.9m) | m3 | 1 | 16009.76 | 16009.76
A.7.g | Latrines slabs (4x1.5mx1m) (1x1.5mx1.5m) | m3 | 0.9 | 16009.76 | 14408.784
A.7.h | Soak Pit | m3 | 0.1 | 16009.76 | 1600.976
A.8 | Burnt brick masonry
Note: Burnt brick masonry with M1:4 as per design drawings, specification and engineers’ directions with all required activities
A.8.a | Walls | m3 | 23 | 5179.2 | 119121.6
A.9 | Burnt brick pieces
Note: Burnt brick pieces for insulation as per design drawings, specification and engineers’ directions with all required activities
A.9.a | Roof | m3 | 3.5 | 2683.2 | 9391.2
A.10 | Ventilation Pipe
Note: PVC 4" Pipe as per design drawings, specification and engineers’ directions with all required activities
A.10.a | Vent Pipe | Lm | 20 | 150 | 3000
A.11 | Urine Channel
Note: GI 2" with T-joint as per design drawings, specification and engineers’ directions with all required activities
A.11.a | Urine Channel | Lm | 9.5 | 350 | 3325
Total of A- Civil Works |  |  |  |  | 659160.3374
B Finishing
B.1 | Supply and installation of wooden windows
Note:Supply and installation of wooden windows, Oil painting, including accessories, glasses and aluminum fly screens as per design drawings, specification and engineers’ directions with all required activities
B.1.a | Windows 1 | m2 | 1.5 | 3250 | 4875
B.1.b | Windows 2 | m2 | 0.8 | 3250 | 2600
B.1.c | Windows 3 | m2 | 1.8 | 3250 | 5850
B.2 | Supply and installation of wooden doors |  |  |  | 0
| Note: Supply and installation of wooden doors,Oil painting, including accessories and glasses as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.2.a | Door 1 | m2 | 6.7 | 4550 | 30485
B.2.b | Door 2 | m2 | 2.6 | 4550 | 11830
B.3 | Interior cement plaster |  |  |  | 0
| Note: Interior cement plaster for walls and ceilings with M1:3 as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.3.a | Walls | m2 | 116 | 271.115 | 31449.34
B.3.b | Ceiling | m2 | 22.5 | 271.115 | 6100.0875
B.4 | Exterior cement plaster |  |  |  | 0
| Note: Exterior cement plaster for walls and parapets with M1:3 as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.4.a | Walls | m2 | 56.5 | 271.115 | 15317.9975
B.4.b | Parapet | m2 | 42 | 271.115 | 11386.83
B.5 | Stone pointing |  |  |  | 0
| Note: Stone masonry (beaded pointing) with M1:3 as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.5.a | Latrine | m2 | 42 | 136.474 | 5731.908
B.5.b | Wastage | m2 | 16.5 | 136.474 | 2251.821
B.5.c | Ramp | m2 | 10 | 136.474 | 1364.74
B.6 | Vertical roof gutters |  |  |  | 0
| Note: Vertical roof gutters from GI sheet 22 gauge 12x20 cm as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
B.6.a | Gutters work (Vertical from GI sheet 24 gage 12X20 cm) | Lm | 8 | 520 | 4160
B.7 | Interior latex wall and ceilling painting |  |  |  | 0
| Note: Interior latex wall and ceilling painting 75 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.7 | Walls | m2 | 116 | 260 | 30160
B.7.a | Ceiling | m2 | 22.5 | 260 | 5850
B.8 | Isogum (Waterproofing) |  |  |  | 0
| Note: Isogum (Waterproofing) 5mm thick as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
B.8.a | Roof | m2 | 48 | 260 | 12480
B.9 | Exterior latex wall and parapet painting |  |  |  | 0
| Note: Exterior latex wall and parapet painting 100 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.9.a | Walls | m2 | 56.5 | 325 | 18362.5
B.9.b | Parapet | m2 | 42 | 325 | 13650
B.10 | Handrails installation |  |  |  | 0
| Note: Handrails installation as per design drawings, specification and engineers’ directions with all required activities |  |  |  | 0
B.10.a | Handrail | Lm | 21 | 2500 | 52500
B.11 | Covering parapet wall with 24 gauge GI |  |  |  | 0
| Note: Covering the top of the parapet wall with 24 gauge GI sheet as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
B.11.a | Parapet | m2 | 6 | 520 | 3120
B.12 | Water Closet for disabled people |  |  |  | 0
| Note: Water closet for disabled people complete set as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
B.12.a | Water Closet | No | 1 | 4500 | 4500
B.13 | Water Tank (hand wash facility) complete Set |  |  |  | 0
| Note: Water tank (30x60x105) GI sheet 18 gauge ,hand wash basin GI sheet 18 gauge, water tap and with water inlet and sewerge pipes as per design drawings, specification and engineers’ directions with all required activities. |  |  |  | 0
B13.1a | Water tank | No | 1 | 15000 | 15000
Total of B- Finishing |  |  |  |  | 289025.224
Summary
Total of A- Civil Works |  |  |  |  | 659160.3374
Total of B- Finishing |  |  |  |  | 289025.224
Grand Total |  |  |  |  | 948185.5614

## Construction of Hand Washing
Construction of Hand Washing Facility
S.No | Description of Work and Activities | Unit | Quantity | Unit Rate (AFN) | Total (AFN)
A-Civil Works
A.1 | Site preparation
Note: Site preparation this include site leveling (excavation or backfilling) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers directions with all required activities.
A.1.a | Construction Area | m2 | 20 | 130 | 2600
A.2 | Excavation
Note: Excavation of all types of lands for foundation, Walkway and floor as per design drawings and specifications with all required activities
A.2.a | Foundation | m3 | 0.9 | 260 | 234
A.2.b | Side Walk | m3 | 2.75 | 260 | 715
A.2.c | Floor | m3 | 1.5 | 260 | 390
A.3 | PCC (M150)
Note: PCC (M150) for foundations with formworks and anchor bolts with underlaying crash gravel layer as per design drawings, specification and engineers’ directions and all required activities
A.3.a | Foundation | m3 | 0.7 | 6202.56 | 4341.792
A.3.b | Side Walk | m3 | 1 | 6202.56 | 6202.56
A.3.c | Floor | m3 | 1.994 | 6202.56 | 12367.9046
A.3.d | Floor under water tank | m3 | 0.4 | 6202.56 | 2481.024
A.4 | Water Tank Stand
Note: Supply and Installation of water tank stand from profile 40x60mm T=2mm with hieght of 0.77 mas per design drawings, specification and engineers’ directions and all required activities
A.4.a | Stand | m2 | 1.5 | 2500 | 3750
A.5 | Shelter and shade structure
Note: Supply and installation of shelter and shade structure for hand washing facility (flat calculation) as per design drawings, specification and engineers’ directions and all required activities
A.5.a | Shade structure | m2 | 9 | 4500 | 40500
A.6 | Water Tank
Note: Supply and installation of a 20 Gauge (GI) water tank with capacity of 1000 litter, wrapped in parachute fabric and connected to water supply system as per design drawings, specification and engineers’ directions and all required activities.
A.6.a | Water Tank | No | 1 | 5000 | 5000
A.7 | 4” diameter (GI) pipe with 2' angle iron
Note:Supply and installation of 4” diameter (GI) pipe with 2' angle iron supports with all accessories and fittings as per design drawings, specification and engineers’ directions and all required activities.
A.7.a | Pipe | Lm | 2.75 | 2000 | 5500
A.8 | 3” diameter (GI) Columns
Note:Supply and installation of 3” diameter (GI) pipe for shades supports with all accessories as per design drawings, specification and engineers’ directions and all required activities.
A.8.a | Column | Lm | 18.5 | 1500 | 27750
A.9 | tap 1/2" along with 1/2" pipes
Note:Supply and installation of nickel tap 1/2" along with 1/2" pipes with all accessories and fittings as per design drawings, specification and engineers’ directions and all required activities.
A.9.a | tap 1/2" along with 1/2" pipes | Lm | 10 | 250 | 2500
A.10 | PPR 32 mm diameter
Note:Supply and installation of PPR 32 mm diameter for external water usage as per design drawings, specification and engineers’ directions and all required activities.
A.10.a | Pipe | Lump Sum | 1 | 1000 | 1000
Total of A- Civil Works |  |  |  |  | 115332.2806

## Construction of Boundary Wall
Construction of Boundary Wall
S.No | Description of Work and Activities | Unit | Quantity | Unit Rate (AFN) | Total (AFN)
A-Civil Works
A.1 | Site preparation
Note: Site preparation this include site leveling (excavation or backfilling) removing any trees, vegetation, debris, or other obstructions from the construction site as per specification and engineers directions with all required activities.
A.1.a | Boundary Wall length | L.m | 210 | 130 | 27300
A.2 | Excavation
Note: Excavation of all types of lands for foundation as per design drawings and specifications with all required activities
A.2.a | Foundation for gate | m3 | 1.75 | 260 | 455
A.2.b | Foundation Under Walls | m3 | 132.3 | 260 | 34398
A.3 | Backfilling
Note: filling with soil including levelling and compaction as per design drawings, specification, and engineer directions with all required activities.
A.3.a | Back filling Foundation | m3 | 3 | 213.2 | 639.6
A.3.b | Backfilling under walls | m3 | 29.4 | 213.2 | 6268.08
A.4 | Stone masonry
Note: Stone masonry in foundations and above foundation, with M1:4 as per design drawings, specification and engineers’ directions with all required activities
A.4.b | Stone masonry | m3 | 168 | 3533.4 | 593611.2
A.5 | Burnt brick masonry
Note: Burnt brick masonry with M1:4 as per design drawings, specification and engineers’ directions with all required activities
A.5.a | Walls | m3 | 86.1 | 5179.2 | 445929.12
A.6 | Plaster Work
Note: plaster walls motor shall be M1:3 as per design drawings, specification and engineers’ directions with all required activities
A.6.a | Wall | m2 | 735 | 271.115 | 199269.525
A.7 | PCC (M150)
Note: PCC (M150) with formworks as per design drawings, specification and engineers’ directions with all required activities
A.7.a | At the top of Stone Masonry | m3 | 18.9 | 6202.56 | 117228.384
A.7.b | At the top of burnt brick wall | m3 | 8.4 | 6202.56 | 52101.504
A.8 | RCC (M250)
Note: RCC (M250) with form works as per design drawings, specification and engineers’ directions with all required activities
A.8.a | Column | m3 | 1.2 | 16009.76 | 19211.712
A.8.b | Footing | m3 | 0.8 | 16009.76 | 12807.808
A.9 | Main Gate
Note: Supply and installation steel gates for school entrance as per design drawings, specification and engineers’ directions with all required activities
A.9.a | Main Gate (3m × 2.2m) | no | 1 | 20000 | 20000
A.9.b | Pedestrain Gate (1.2m × 2.2m) | no | 1 | 9000 | 9000
A.10 | Stone pointing
Note: Stone masonry (beaded pointing) with M1:3 as per design drawings, specification and engineers’ directions with all required activities
A.10.a | Stone Pointing | m2 | 210 | 136.474 | 28659.54
A.11 | Painting Works
Note: Exterior latex wall and parapet painting 100 % (3 coat) with plaster texture filling as per design drawings, specification and engineers’ directions with all required activities
A.11.a | Wall | m2 | 735 | 325 | 238875
Total of A- Civil Works |  |  |  |  | 1805754.473

## Summary of Elements
Construction of Mohamadia School
No | SUMMARY OF ELEMENTS | TOTAL AFN
1 | Site mobilization and de-mobilization | 400000
2 | Construction of 6 + 1 classrooms | 5743754.259
3 | Construction of 4 +1 dry latrine | 948185.5614
4 | Construction of hand washing facility | 115332.2806
5 | Construction of Boundary wall | 1805754.473
Total |  | 9013026.574
10% additional |  | 901302.6574
Additional Transortaion Cost |  | 800000
Grand Total |  | 10714329.2314
Total Labor Days
No | Labors | Days
1 | Unskilled Labor | 1164.7828
2 | Skilled Labor | 631.6872
Total Labor Days |  | 1796.4699