## Summary Sheet
No | Name of School | District | Province
1 | Kohna Qala Boys High School | Aqtash District | Kunduz
2 | Laghmaniha Secondary School | Aqtash District | Kunduz
3 | Darwaza Kan Secondary School | Aqtash District | Kunduz
4 | Abshor Boys High School | Aqtash District | Kunduz
5 | Abdul Hakim Sujany Girls Primary School | Aqtash District | Kunduz
6 | Dawlatyar Boys High School | Aqtash District | Kunduz
7 | Amir Abad Primary School | Aqtash District | Kunduz
8 | Taqa Chenar Boys Secondary School | Aqtash District | Kunduz
9 | Khooja Pesta Boys High School | Khan Abad District | Kunduz
10 | Naswan Markazy Girls High School | Khan Abad District | Kunduz
11 | Number 1 Boys High School | Khan Abad District | Kunduz
12 | Wadan Kely Boys Secondary School | Khan Abad District | Kunduz
13 | Dagary Girls Secondary School | Khan Abad District | Kunduz
14 | Sad Ramazan Boys High School | Khan Abad District | Kunduz
15 | Jangal BASHI Boys High School | Khan Abad District | Kunduz
16 | Number 2 Boys High school | Khan Abad District | Kunduz
17 | Zard Kamar Boys Secondary School | Khan Abad District | Kunduz
18 | Yamchi Boys Primary School | Khan Abad District | Kunduz
19 | Quzi Boys Secondary School | Khan Abad District | Kunduz
20 | Aq Masjid Secondary School | Imam Sahib District | Kunduz
21 | Naswan Number 2 Girls High School | Imam Sahib District | Kunduz
22 | Abdul Rahman Ben Awf School | Imam Sahib District | Kunduz
23 | Esky Boys High School | Imam Sahib District | Kunduz
24 | Zarkhaird Boys High School | Kunduz Center | Kunduz
Grant Total AF

## 1.Kohna Qala
Kuna Qala Boys High school Aqtash District Kunduz province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster work with cement sand mortar 1:4 smooth finishing with all necessary work
1 | Repairing of latrine walls and staire of latrine plaster with cenment sand maortar (1:4) to remove the old cracked plaster of the Inside and outside plaster of walls, damaged points and add new plaster on it. | 34 | m2 |  | 0
A1.2 | PCC 1:2:4 concrete for s ramp, stairs, with all necessary work
2 | PCC 1:2:4 M 150 concrete T = 7cm, for ramp to remove soil, dust ,Compact and clean the area pour concrete with all necessary work according to scope of work. | 0.7 | m3 |  | 0
A1.3 | Burnt Brick Masonry with cement sand mortar 1:4 for repairing of latrine stair case with all necessary work
3 | Brick masonry of first class (A) burnt Brick with cement sand mortar 1:4 for Latrine stair case with all necessary work according to Scope of work and the instruction of IRC EH.Engineer. | 0.4 | m3 |  | 0
A1.4 | Precast Slab for Covering of latrine storag (6.8*1.2*0.08)m
4 | Supply and installation of RCC Precast Slab(120cm*40cm*8cm) for Covering of latrines storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 0.7 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with metal (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 59 | m2 |  | 0
A2.2 | Non presseure PVC pipe class C vent pipe for latrine
2 | Non presseure 3" PVC vent pipe should be installed at the corner of latrine. | 6 | m |  | 0
A2.3 | Supply and installation new plyWood Board for door repairing
3 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 0.6 | m2 |  | 0
A2.4 | Supply and installation Fly Screen
4 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with best quality and will be cut under 45 degree. | 1 | m2 |  | 0
A2.5 | Door lock best quality
5 | Door lock best quality with the price of 1000 up to 1200 AFs for the existing doors and installation. | 12 | pcs |  | 0
A2.6 | Iron lock for window
6 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 6 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Supply and installation Iron Sheet for the roof of latrine the Iron sheet Should be Gage 24
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm on the roof of latrine fixed by Rubber washer screw. | 4 | m2 |  | 0
A3.2 | Gutters work (Vertical from Iron sheet 24 gage ) complete
2 | 7supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm With the size of (7*10)cm best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 7 | m |  | 0
A3.3 | Gutters work (Horizontal from Iron sheet 24 gage ) complete
3 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm With size of (14*13)cm best quality, on the roof fixed with rubber washer screw. | 30 | m |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with water cement grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 24 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Electrical work
A5.1 | Main Joint box
1 | Supply and installation of main electrical joint box for class room | 1 | Pcs |  | 0
A5.2 | Switch and sacket with installation high quality should be use
2 | Switch and sacket with installation high quality should be use under plaster. | 15 | Pcs |  | 0
A5.3 | Supply and installation lamps (24 W).
3 | Supply and installation of lamp (24 W) with all required activities. | 15 | Pcs |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Submersible pump 1 inch with installation and all necessary work
A6.1 | Submersible pump with its Compatible inverter, control box and Fuse box in and stainless steel.
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85m National pump or equivalent | 1 | set |  | 0
A6.2 | Rope for Submersible pumps
2 | Rope for Submersible pumps (12mm) with clamp and all required works | 90 | m |  | 0
A6.3 | Robber type
3 | Water proof robber tape | 1 | pcs |  | 0
A6.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 100 | m |  | 0
A6.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Solar System Complete
A7.1 | Solar Pannel Complete System
1 | Supply and installation of (Conformity European)(IECCE)(International Electro technical Commission)(& iec60904, IEC61215,IEC61646,IEC62108,IEC61730). | 8 | psc |  | 0
A7.2 | Electrical cable
2 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 20 | m |  | 0
A7.3 | Electrical cable
3 | Supply and installation of electrical cable 3x2.5 Maghan- Herati best quality. | 90 | m |  | 0
A7.4 | PCC for fundation of solar pannel frame
4 | PCC 1:2:4 Work for fundation of solar frame according to the technical drawing | 0.2 | m3 |  | 0
A7.5 | Frame for 8 solar Panel
5 | Supply and installation of the Galvanized Angle iron frame for 12th solar panels (Non-Movable and Movable with RCC foundation Work according to drawings with required materials and works and IRC focal point will be select the type of frame as need (punctual) | 1 | Lump.sum |  | 0
A7.6 | Inverter
6 | Supply and installation of 4.5 kW Solartech brand best quality IP65 Pump inverter one year warranty under specific condation or equivalent | 1 | Each |  | 0
Sub Total 07 |  |  |  |  | 0
Part 8 | Hand Washing Station
A8.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A8.2 | Hand Washing Station
2 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total 08 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 2.Laghmani ha secondary school
Laghmaniha Boys Seconndary School Aqtash District Kunduz province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster work with cement sand mortar1:4 smooth finishing with all necessary work
1 | Repairing of latrine walls and staire case plaster with (1:4) mator To remove the old cracked plaster of the Inside and outside wall damaged points and add new plaster on it. | 34 | m2 |  | 0
A1.2 | PCC 1:2:4 concrete for side walk, ramp, and outside stairs, with all necessary work
2 | PCC 1:2:4 concrete T = 7cm, for ramp to remove soil, dust compact and clean the area pour concrete with all necessary work according to scope of work. | 0.5 | m3 |  | 0
A1.3 | Burnt Brick Masonry with cement sand mortar 1:4 for repairing of toilet stair case with all necessary work
3 | Brick masonry of first class (A) burnt Brick with cement sand mortar 1:4 for toitet stair case with all necessary work according to Scope of work and the instruction of IRC EH.Engineer. | 0.3 | m3 |  | 0
A1.4 | Precast Slab for Covering of latrine storag
4 | Supply and installation of RCC Precast Slab(120cm*40cm*8cm) for Covering of latrines storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 0.7 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with metal (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 25 | m2 |  | 0
A2.2 | Supply and installation Fly Screen
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with good quality and will be cut under 45 degree. | 10 | m2 |  | 0
A2.3 | Door lock best quality
3 | Door lock best quality with the price of up to 1000-1200 AFs/ for the existing doors and installation. | 11 | pcs |  | 0
A2.4 | Iron lock for window ( Qytak / Nakhonak ).
4 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 66 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Oil Painting
A3.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with water cement grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 28 | m2 |  | 0
A3.2 | Oil painting of Windows NIKON
2 | all Windows should be clean with sand paper, and will be paint 2 coats. | 50 | m2 |  | 0
A3.3 | Oil Painting of Doors NIKON
3 | All Door should be clean with sand paper and should be paint two coats. | 50 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Plastic Painting Inside and Outsid
A4.1 | Plastic Painting outside 100 % NIKON Super emulation/Equivalent
1 | The out Side wall should be clean with sand paper and then will be paint 100% plastic painting two coats with all necessary work according to scope of work. | 460 | m2 |  | 0
A4.2 | Plastic Painting inside 75 % NIKON Super emulation/Equivalent
2 | The inSide wall should be clean with sand paper and then will be painting 75% plastic painting two coats with all necessary work according to scope of work. | 612 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | 2
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 22 | m2 |  | 0
A5.2 | Adjustment of Windows
2 | The carpenter should be adjust all windows pala. | 1 | lump.sum |  | 0
Sub Total 05 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 3.Darwaza kan Secondary SC
Darwazakan Boys Secondary school Aqtash District Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster work with cement and sand mortar 1:4 and smooth finishing with all necessary work
1 | Repairing of latrine walls and staire plaster with cement sand mator (1:4) to remove the old cracked plaster of the Inside and outside walls damaged points and add new plaster on it. | 24 | m2 |  | 0
A1.2 | PCC 1:2:4 concrete for Sofa of latrine T = 7cm, With all necessary work
2 | PCC 1:2:4 concrete T = 7cm, for ramp to remove soil, dust,Compact and clean the area pour concrete with all necessary work according to scope of work. | 1 | m3 |  | 0
A1.3 | Burn Brick Masonry with Cemnet Sand mortar 1:4 for repairing of Latrine stair case with all necessary work
3 | Burn Brick Masonry class A with cemnet sand mortar 1:4 for repairing of Latrine stair, with all necessary work according to the Scope of work and the instruction of IRC EH.Engineer. | 0.3 | m3 |  | 0
A1.4 | Precast RCC Slab for Covering of latrine storag (180cm*40cm*8cm)
4 | Supply and installation of RCC Precast Slab(180cm*40cm*8cm) for Covering of latrine storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 1.4 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with best quality and will be cut under 45 degree. | 1 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | White Washing
A3.1 | White Washing for latrines inside and outside with Lime and change colour powder
2 | White washing with Lime 2 coat, To remove and clear the old paint from outsid and inside of latrine walls to add the new paint it. | 100 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Door and Window Repairing
A4.1 | Supply and installation of new PALA for latrine Doors
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 8 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | New Water Well Digging
A5.1 | Well Digging
1 | Well digging (10-12)" by percussion method the machine should be select as instruction of EH Engineer | 50 | m |  | 0
A5.2 | PVC pipe size 8"
2 | Supply and Installation of PVC pipe, 8'' diameter of class D (16m-Filter & 48m-casing ) Kawsar best quality or equivalent | 47 | m |  | 0
A5.3 | American Glue 717 for PVC pipe connection
3 | Supply and use American Glue 717 for PVC pipe connection | 0.5 | kg |  | 0
A5.4 | gravel Pack
4 | Gravel Pack size ( 3 - 6 ) mm around the filter | 2 | M3 |  | 0
A5.5 | Soil (clay) for filling around PVC pipe over the gravel pack
5 | Soil (clay) for filling around PVC pipe over the gravel pack, Sealing the surface water, and filling of bore wells holes around the casing pipe. | 5 | m3 |  | 0
A5.6 | pcc work
6 | PCC of M150 for apron construction the unit cost includes all relevant costs i.e. materials, labors, formwork and curing (functual ) | 2 | M3 |  | 0
A5.7 | Hand pump
7 | Supply and installation of Pamir complete hand pump set with 15 double hooks rods corrosion resistance, with all required items best quality of Kawsar product all parts of hand pump set specs indicated in SoP. | 1 | SET |  | 0
A5.8 | Class E raising main pipe
8 | Class E, PVC 2" raising main pipe with pipe centrializers Kawsar brand 4 kg weigth and 2.8 m length best quality | 47 | M |  | 0
A5.9 | Rope
9 | Supply and installation of Best quality rope for hand pump and submersible 10mm | 98 | M |  | 0
A5.10 | chlorination of wells
10 | Chlorination of wells to ensure FRC of 02-0.5 mg/L as per MRRD and WASH cluster guidelines | 1 | Each |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Submersible pump 1 inch with installation and all necessary work
A6.1 | Submersible pump with its Compatible inverter, control box and Fuse box in stainless steel.
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A6.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 124 | m |  | 0
A6.3 | Robber type
3 | Water proof robber type | 1 | pcs |  | 0
A6.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 100 | m |  | 0
A6.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Solar System Compleate
A7.1 | Solar System Compleate
1 | Supply and installation of (Conformity European)(IECCE)(International Electro technical Commission)(& iec60904, IEC61215,IEC61646,IEC62108,IEC61730). | 8 | psc |  | 0
A7.2 | Electrical cable
2 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 20 | m |  | 0
A7.3 | Electrical cable
3 | Supply and installation of electrical cable 3x2.5 Maghan- Herati best quality. | 90 | m |  | 0
A7.4 | PCC for fundation of solar pannel frame
4 | PCC 1:2:4 Work for fundation of solar frame according to the technical drawing | 0.2 | m3 |  | 0
A7.5 | Frame for 8 solar Panel
5 | Supply and installation of the Galvanized Angle iron frame for 12th solar panels (Non-Movable and Movable with RCC foundation Work according to drawings with required materials and works and IRC focal point will be select the type of frame as need (punctual) | 1 | Lump.sum |  | 0
A7.6 | Inverter
6 | Supply and installation of 4.5 kW Solartech brand best quality IP65 Pump inverter one year warranty under specific condation or equivalent | 1 | Each |  | 0
Sub Total 07 |  |  |  |  | 0
Part 8 | Metal Hand Washing Station
A8.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A8.1 | Hand Washing Station
1 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total: |  |  |  |  | 0
Grant Total: |  |  |  |  | 0
0

## 4. Abshor high SC
Abshoor Boys High school Aqtash district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Other work
A1.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 13 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Oil Painting
A2.2 | Oil Painting of Door, NIKON
2 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 24 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Door and Window Repairing
A3.1 | Main gate repairing
1 | Repair of main metallic gate with all necessary work according to the IRC EH Engineer instruction | 1 | Lump.sum |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Submersible pump 1 inch with installation and all necessary work
A4.1 | Submersible pump with its Compatible inverter, control box and Fuse box in stainless steel.
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A4.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 90 | m |  | 0
A4.3 | Robber type
3 | Water proof robber type | 1 | Each |  | 0
A4.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 150 | m |  | 0
A4.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Solar System Complete
A5.1 | Solar System Complete.
1 | Supply and installation of (Conformity European)(IECCE)(International Electro technical Commission)(& iec60904, IEC61215,IEC61646,IEC62108,IEC61730). | 8 | psc |  | 0
A5.2 | Electrical cable
2 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 20 | m |  | 0
A5.3 | Electrical cable
3 | Supply and installation of electrical cable 3x2.5 Maghan- Herati best quality. | 150 | m |  | 0
A7.4 | PCC for fundation of solar pannel frame
4 | PCC 1:2:4 Work for fundation of solar frame according to the technical drawing | 0.2 | m3 |  | 0
A7.5 | Frame for 8 solar Panel
5 | Supply and installation of the Galvanized Angle iron frame for 12th solar panels (Non-Movable and Movable with RCC foundation Work according to drawings with required materials and works and IRC focal point will be select the type of frame as need (punctual) | 1 | Lump.sum |  | 0
A5.5 | Inverter
5 | Supply and installation of 4.5 kW Solartech brand best quality IP65 Pump inverter one year warranty under specific condation or equivalent | 1 | Each |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Metal Hand Washing Station
A8.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A8.1 | Hand Washing Station
1 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total 6 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 5.Abdul Hakim sojani Primary SC
Abdul Khakim Sojani Primary Girls School Aqtash district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Other work
A1.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 7.2 | m2 |  | 0
A1.2 | Supply and installation new plyWood Board for door repairing
2 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 0.61 | m2 |  | 0
A1.4 | Main Gate Reparing
4 | Repair of main gate with profil (30*60) . | 1 | Lump.sum |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Submersible pump 1 inch with installation and all necessary work
A2.1 | Submersible pump with its Compatible inverter, control box and Fuse box in stainless steel.
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A2.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 90 | m |  | 0
A2.3 | Robber type
3 | Water proof robber type | 1 | pcs |  | 0
A2.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 100 | m |  | 0
A2.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Solar System Compleate
A3.1 | Solar System Compleate
1 | (Conformity European)(IECCE)(International Electro technical Commission)(& iec60904, IEC61215,IEC61646,IEC62108,IEC61730). | 8 | psc |  | 0
A3.2 | Electrical cable
2 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 20 | m |  | 0
A3.3 | Electrical cable
3 | Supply and installation of electrical cable 3x2.5 Maghan- Herati best quality. | 150 | m |  | 0
A7.4 | PCC for fundation of solar pannel frame
4 | PCC 1:2:4 Work for fundation of solar frame according to the technical drawing | 0.2 | m3 |  | 0
A7.5 | Frame for 8 solar Panel
5 | Supply and installation of the Galvanized Angle iron frame for 12th solar panels (Non-Movable and Movable with RCC foundation Work according to drawings with required materials and works and IRC focal point will be select the type of frame as need (punctual) | 1 | Lump.sum |  | 0
A3.5 | Inverter
5 | Supply and installation of 4.5 kW Solartech brand best quality IP65 Pump inverter one year warranty under specific condation or equivalent | 1 | Each |  | 0
Sub Total 03 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 6. Dowlatyar high SC
Dolatyar Boys High School Aqtash district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | RCC Precast Slab for Covering of latrine storag
2 | Supply and installation of RCC Precast Slab(160cm*40cm*8cm) for Covering of latrine storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 1.2 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 1 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with good quality and will be cut under 45 degree. | 1 | m2 |  | 0
A2.3 | Door lock best quality for and main gate
3 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 1 | Pcs |  | 0
A2.4 | Iron lock for latrine door ( Qytak ).
4 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 4 | Pcs |  | 0
A2.5 | Repairing of handrail stair and ramp
5 | Repairing of handrail stair and ramp | 1 | Lump.Sum |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Oil Painting
A3.1 | Oil Painting of Handrail NIKON
1 | Oil painting of hendrail ( coats) | 7 | M/L |  | 0
A3.2 | Oil Painting of main Door NIKON
2 | all Windows should be clean with sand paper and then 2 coats will be oil painting, best quality. | 23 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Water Well Digging
A4.1 | Well Digging
1 | Well digging (10-12)" by percussion method the machine should be select as instruction of EH Engineer | 40 | m |  | 0
A4.2 | PVC pipe size 8"
2 | Supply and Installation of PVC pipe, 8'' diameter of class D (16m-Filter & 48m-casing ) Kawsar best quality or equivalent | 41 | m |  | 0
A4.3 | American Glue 717 for PVC pipe connection
3 | Supply and use American Glue 717 for PVC pipe connection | 0.5 | kg |  | 0
A4.4 | gravel Pack
4 | Gravel Pack size ( 3 - 6 ) mm around the filter | 2 | M3 |  | 0
A4.5 | Soil (clay) for filling around PVC pipe over the gravel pack
5 | Soil (clay) for filling around PVC pipe over the gravel pack, Sealing the surface water, and filling of bore wells holes around the casing pipe. | 6 | M3 |  | 0
A4.6 | pcc work
6 | PCC of M150 for apron construction the unit cost includes all relevant costs i.e. materials, labors, formwork and curing (functual ) | 2 | M3 |  | 0
A4.7 | Hand pump
7 | Supplay and installation of Pamir complete hand pump set with 15 double hooks rods corrosion resistance, with all required items best quality of Kawsar product all parts of hand pump set specs indicated in SoP. | 1 | SET |  | 0
A4.8 | Class E raising main pipe
8 | Class E, PVC 2" raising main pipe with pipe centrializers Kawsar brand 4 kg weigth and 2.8 m length best quality | 40 | M |  | 0
A4.9 | Rope
9 | Supply and installation of best quality rope for hand pump and submersible 10mm | 85 | M |  | 0
Sub Total 04 |  |  |  |  | 0
GrandTotal: |  |  |  |  | 0

## 7. Amir Abad primary school
Amir Abad Boys Primary school Aqtash district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster work with cement sand morter 1:4 smooth finishing with all necessary work
1 | Plaster work with cement sand mortar 1:4 for stair of latrine. | 30 | m2 |  | 0
A1.2 | Cemnet sand mortar 1:4 to fill the gaps of precast slab to be ready for Isogam.
2 | Cement sand mortar 1:4 to filled the gaps of precast slab to be ready for Isogam, according to scope of work, with all necessary work and instruction of IRC EH.Engineer | 1066 | m/L |  | 0
A1.2 | PCC 1:2:4 concrete for side walk, ramp, and outside, stairs, T = 10cm, with all necessary work
2 | Pcc work is use for the floor of the class rooms according to the scope of work , with all necessary work and instruction of IRC EH.Engineer. | 5 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colourless Glasses with wooden chofty for windows and Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 20 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, chofti should be cut 45 degree at the corner. | 2 | m2 |  | 0
A2.3 | Door lock best quality for the existing doors
3 | Door lock best quality for the existing doors the price of 1000 up to 1200 AF with all necessary work | 8 | Pcs |  | 0
A2.4 | Iron lock for window ( Qytak / Nakhonak ).
4 | Iron lock for window ( Qytak / Nakhonak ). With the price of 150 AF For existing window | 15 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Gutters work (Vertical from GI sheet 24 gage )size of (10*8)cm acording to the existing gutter on site complete
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 32 | mL |  | 0
A3.2 | Removal of soil from roof of school building to placed the Isogam
2 | Removal of soil from the roof by labour with showals and clean the gap of precast slab and fill with plaster mortar, the soil should be tranfered away from school area. | 53 | m3 |  | 0
A3.3 | Isogam layer on the roof
3 | The best quality isogam (3mm-4mm) should be supply and install on the roof surface of school building , Isogam should be overlap minimum 10 cm one another. | 352 | m2 |  | 0
A3.4 | Kahgel after isogam layer( mud and straw plaster )
4 | Mud & straw plaster after isogam layer with thickness 4cm the gaps of Kahgel should be filled with fine sand. | 352 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 9 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Repeairing and installition of new ply wood sheet for 8 doors
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 18.6 | m2 |  | 0
A5.2 | Making & installation of windows new pala
2 | Making and installation of new wooden window the frame shuould be 10*8 or match to the old existing windows With all necessary Requirment | 4.7 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Metal Hand Washing Station
A8.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A8.2 | Hand Washing Station
2 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total 06 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 8.Taqachanar Boys school
Taqa Chenar Boys Secondary School Aqtash district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster work with cement and sand mortar 1:4 smooth finishing with all necessary work
1 | Plaster of cement sand mortar 1:4 to latrine stair According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 100 | m2 |  | 0
A1.2 | Cemnet sand mortar to fill the gaps of precast slab to be ready for Isogam.
2 | Cement sand mortar 1:4 to filled the gaps of precast slab to be ready for Isogam for roof of school building, according to scope of work, with all necessary work and instruction of IRC EH.Engineer | 1066 | m/L |  | 0
A1.3 | Burnt Brick Masonry with cement sand mortar 1:4 for repairing of Latrine stair case with all necessary work
3 | Burnt Brick Masonry class (A) with cement sand mortar 1:4 for repairing of latrine stair case with all necessary work according to scope of work the instruction of EH Engineer | 2 | m3 |  | 0
A1.4 | RCC Precast Slab for Covering of latrine storage
4 | Supply and installation of RCC Precast Slab(130cm*40cm*8cm) for Covering of latrine storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 0.75 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colourless Glasses with wooden chofty for windows and Doors, chofti should be cut 45 at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 21 | m2 |  | 0
A2.2 | Non presseure PVC pipe class C vent pipe for latrine
2 | Non presseure 3" PVC vent pipe should be installed at the corner of latrine. | 6 | m |  | 0
A2.3 | Supply and installation Fly Screen with chofti for all opening window of latrine
3 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with best quality and will be cut under 45 degree. | 1 | m2 |  | 0
A2.4 | Door lock best quality for the existing doors
4 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 10 | Pcs |  | 0
A2.5 | Iron lock for window ( Qytak / Nakhonak ). For existing window
5 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 40 | Pcs |  | 0
A2.6 | Iron lock (iron Qulfak) for existing latrine doors.
6 | Iron lock (iron Qulfak) for existing latrine doors. | 2 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Supply and installation Iron Sheet(smooth) Of latrine roof Should be Gage 24
1 | Supply and installation Iron stainless steel Sheet(Smooth) Of Latrine roof Should be Gage 24 (0.5) | 17 | m/l |  | 0
A3.2 | Gutters work (Vertical from GI sheet 24 gage )size 10*8 cm complete
2 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 48 | m/l |  | 0
A3.3 | Removal of soil from roof of school building (41*13*0.2)m
3 | Removal of soil from the roof by labour with showals and clean the gap of precast slab and fill with plaster mortar, the soil should be tranfer away from school area. | 107 | m3 |  | 0
A3.4 | Isogam layer on precast slab of roof of school building
4 | The best quality isogam (3mm-4mm) should be supply and install on the roof surface of school building , Isogam should be overlap minimum 10 cm one another. | 533 | m2 |  | 0
A3.5 | Kahgel after isogam layer( mud and straw plaster )
5 | Mud & straw plaster after asogam layer with thickness 4cm two layer the cracks of kahgel plaster should be filled with sand. | 533 | m2 |  | 0
A3.6 | Precast Slab for School Building roof repairing
6 | Supply and installation of precast slab for the damaged area of the roof | 16 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting NIKON
A4.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 24 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Making & installation of new metalic door for Latrine
1 | Making & installation of new metalic door for Latrine with all necessary work according to the scop of work and instruction of IRC EH engineer. | 2.2 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Water Well Repairing
A6.1 | Repairing of the Hand Pump well with all requirements
1 | To repair the Hand pump with all requirement work according to the IRC EH Engineer | 1 | Lump.Sum |  | 0
Sub Total 06 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 9. Khowja Pesta
Khuja Pista Boys Secondary School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Demolishing of Existing Concrete infront of main corridor
1 | Demolishing of Existing settled PCC in front of main cooridor, the old existing concrete is damaged & break down it must be demolised with pic axe and sowel should be broken & the broken pieces of Concrete will be filled and compacted under new PCC. | 2.5 | m3 |  | 0
A1.2 | Plaster work with cement and sand mortar 1:4 and smooth finishing with all necessary work
2 | Repairing of inside damaged classroom and outside damaged wall surface should be repair with cement sand mortar (1:4), the cracks and holes observe on the walls of room and outside walls. | 80 | m2 |  | 0
A1.3 | PCC 1:2:4 concrete for T = 10cm, With all necessary work
3 | PCC 1:2:4 concrete for the main corridor floor should be cast on old pices of broken compacted concrete according to the scope of work , with all necessary work and instruction of IRC EH.Engineer. | 2.5 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to instruction of IRC EH.Engineer and technical scope of work with all necessary work . | 27 | m2 |  | 0
A2.2 | Supply and installation Fly Screen
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with good quality and will be cut under 45 degree. | 21 | m2 |  | 0
A2.3 | Door lock best quality
3 | Door lock best quality with the price of 1000 up to 1200 Afs, for the existing doors and installation. | 12 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Iron Sheet of roof of school building
1 | Supply and installation Iron Sheet(zigzag) Of roof of school building Should be Gage 24 (0.5)mm | 25 | mL |  | 0
A3.2 | Gutters work (Vertical from GI sheet 24 gage ) complete (10cm*8cm)
2 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm with the size (10*8)cm best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 6 | m |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of Door, NIKON
1 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 25 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Plastic Painting Inside and Outsid
A5.1 | Plastic Painting (Weather shield) outside 100% NIKON Emulation
1 | The out Side new plastered wall should be clean with sand paper then apply two coats of 100% plastic paint. | 60 | m2 |  | 0
A5.2 | Plastic Painting in side 75% NIKON Emulation
2 | All Ceiling and walls should be clean with sand paper then apply two coats of 75% plastic paint. | 113 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Door and Window Repairing
A6.1 | New Window
1 | Making and installation of new wooden window the frame shuould be 10*8 or match to the old existing windows With all necessary Requirment | 6 | m2 |  | 0
Sub Total 06 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 10. Naswan markazy high SC
Naswani Markazi High school Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | PCC 1:2:4 concrete for Corridor and sidewalk T = 10cm, With all necessary work
1 | PCC 1:2:4 concrete for the existing damaged side walk width t= 10cm according to the scope of work with all necessary work and instruction of IRC EH.Engineer. | 2 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 8 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with good quality and will be cut under 45 degree. | 71 | m2 |  | 0
A2.3 | Door lock best quality for class room and main gate
3 | Door lock best quality with the price 1000 of up to 1200 AFs/ for the existing doors and installation. | 27 | Pcs |  | 0
A2.4 | Iron lock for window ( Qytak / Nakhonak ).
4 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 35 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Oil Painting
A3.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with grout cement sand mortar 1:4 and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 70 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Plastic Painting Inside and Outsid
A4.1 | White Washing for latrines inside and outside with Lime and change colour powder
1 | White washing with Lime 2 coat, To remove and clear the old paint from outsid and inside of latrine walls to add the new paint it. | 70 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Repair of metallic main gate with profil (30*60)
1 | Repair of main gate with profil (30*60) and oil paint 2 coats with all necessary work. | 1 | Lump.sum |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Electrical work
A6.1 | New installation of ceiling fan with all required activities
1 | new installation of ceiling fan Al-shaikh or equivalent with all required activities | 24 | Pcs |  | 0
A6.3 | Switch and sacket with installation high quality should be use
3 | Switch for ceiling fant with installation best quality should be use | 24 | Pcs |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Submersible pump 1 inch with installation and all necessary work
A7.1 | Submersible pump 1 inch with installation and all necessary work
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A7.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 90 | m |  | 0
A7.3 | Robber type
3 | Water proof robber type | 1 | Pcs |  | 0
A7.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 100 | m |  | 0
A7.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 07 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 11. Number1 boys SC
Number 1Boys High school Khan Abad district Kunduz province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster wok with 1:4 cement and sand mortar and smooth finishing with all necessary work
1 | Repairing of inside damaged classrooms and outside damaged wall surface should be repair with (1:4) cement and sand plaster, the cracks and holes observe on the walls of room and outside walls. | 185 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work building No1 + 2 .
1 | Supply and installation of 4 mm colour less Glasses with wooden chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 25 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with good quality and will be cut under 45 degree. | 1 | m2 |  | 0
A2.3 | Door lock best quality for class room and main gate
3 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 6 | Pcs |  | 0
A2.4 | Iron lock for window ( Qytak / Nakhonak ).
4 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 30 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.2 | Gutters work (Vertical from GI sheet 24 gage ) complete (8cm*10cm)
2 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm with the size of (8cm*10cm) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 6 | mL |  | 0
A3.3 | Gutters work (Horizontal from GI sheet 24 gage ) complete (17*13)
3 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm With size of (17*13)cm best quality, on the roof fixed with rubber washer screw. | 5.5 | m |  | 0
A3.4 | Construction of roof No1 +2+3
4 | Mud & straw (kaagal) after plastic sheet with thickness 4cm two layer | 500 | m2 |  | 0
A3.6 | Plastic Sheet for building No1 +2 +3
6 | Supply and installation of plastic sheet for roof best quality. | 500 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of Door building No1+2 +3
1 | All doors should be cleaned with sand paper then apply 2 coats of oil paint with the best quality. | 66 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Plastic Painting Inside and Outsid
A5.1 | Plastic Painting outside 100% NIKON Emulation building 1 and 2
1 | The out Side new plastered wall should be clean with sand paper then apply two coats of 100% plastic paint. | 810 | m2 |  | 0
A5.2 | Plastic Painting inside 75% NIKON Emulation building 1 and 2
2 | All Ceiling and walls should be clean with sand paper then apply two coats of 75% plastic paint. | 780 | m2 |  | 0
A5.3 | White Washing for latrines inside and outside with Lime and change colour powder
3 | Whte washing with Lime 2 coat, To remove and clear the old paint from outsid and inside of latrine walls to add the new paint it. | 160 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Door and Window Repairing
A6.1 | Carpentry work, Replacing door opening (replacing PALA)
| Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 1.3 | m2 |  | 0
Sub Total 06 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 12. Wadan Kely Secondary SC
Wadankli Boys Secondary School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Demolishing of Existing Concrete
1 | Demolishing of Existing settled PCC in front elevation sufa, the old existing concrete is damaged & break down it must be demolised with pic axe and sowel should be broken and the broken pieces of Concrete will be filled and compacted under new PCC. | 11.5 | m3 |  | 0
A1.2 | Filling and compaction
2 | The broken pieces of Concrete will be filled and compacted under new PCC. filling and compaction on demolation concrete pices the fron elevation supa concrete fondation. | 7 | m3 |  | 0
A1.3 | PCC 1:2:4 M concrete for class room floor and side walk , T = 7cm, with all necessary work
3 | PCC 1:2:4 concrete for the existing damaged (Sofa) with t= 7cm according to the scope of work with all necessary work and instruction of IRC EH.Engineer. | 5 | m3 |  | 0
A1.4 | Plaster wok with 1:4 cement and sand mortar and smooth finishing with all necessary work
4 | Repairing of inside damaged classrooms and outside damaged wall surface should be repair with (1:4) cement and sand plaster, the cracks and holes observe on the walls of room and outside walls. | 144 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 55.5 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine | 1 | m2 |  | 0
A2.3 | Door lock best quality for metal doors
3 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 13 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Iron Sheet of roof
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm smooth on the roof of school fixed by Rubber washer screw. | 10 | mL |  | 0
A3.2 | Gutters work (Vertical from GI sheet 24 gage ) complete
2 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 7.5 | mL |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 23 | m2 |  | 0
A4.2 | Oil painting of Metal Windows
2 | all Windows should be clean with sand paper and then 2 coats will be oil painting, best quality. | 67 | m2 |  | 0
A4.3 | Oil Painting of Door
3 | all Doors should be clean with sand paper and then 2 coats will be oil painting, best quality. | 39 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Plastic Painting Inside and Outsid
A5.1 | Plastic Painting (weather shield) outside 100% NIKON Emulation
1 | The out Side new plastered wall should be clean with sand paper then apply two coats of 100% plastic paint. | 398 | m2 |  | 0
A5.2 | Plastic Painting outside 75% NIKON Emulation
2 | All Ceiling and walls should be clean with sand paper then apply two coats of 75% plastic paint. | 1050 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Door and Window Repairing
A6.1 | Adjustment of cooridor 3 steel Doors
1 | Adjustment of installed khar wooden doors and Windows with Frames and checking all doors and window and adjusting that with all necessary work according to the technical scope of work. | 1 | lump.sum |  | 0
Sub Total 06 |  |  |  |  | 0
Grand total: |  |  |  |  | 0

## 13. Dagary Secondary SC
Dagri Girls Secondary School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | PCC 1:2:4 concrete for class room floor and side walk , T = 10cm, with all necessary work
1 | PCC 1:2:4 concrete for the existing damaged of class room floor surface with t= 10cm according to the scope of work with all necessary work and instruction of IRC EH.Engineer. | 2.6 | m3 |  | 0
A1.2 | Repairing of Plaster with cement and sand mortar 1:4 smooth finishing with all necessary work
2 | Repairing the adge of doors (1:4) mator To remove the old cracked plaster of the damaged points of plaster and door adge and add new plaster on it. | 20 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 22 | m2 |  | 0
A2.2 | Supply and installation new plyWood Board for door repairing
2 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 0.5 | m2 |  | 0
A2.3 | Supply and installation Fly Screen with chofti for all opening window of latrine
3 | Supply and installation of fly screen with wooden chofti for all opening windows, the chofti should be cut 45 degree at the corner. | 36 | m2 |  | 0
A2.4 | Door lock best quality for metal doors
4 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 9 | Pcs |  | 0
A2.5 | Iron lock for window ( Qytak / Nakhonak ).
5 | iron lock for window ( Qytak / Nakhonak ) with the price of 150 AF. | 12 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Plastic Sheet for roof
1 | Supply and installation of plastic sheet for roof | 350 | m2 |  | 0
A3.2 | Plastering of roof with mud and straw 2 coat (4cm)
2 | Mud & straw (kaagal) after plastic sheet with thickness 4cm two layer | 350 | m2 |  | 0
A3.3 | Gutters work (Vertical from GI sheet 24 gage ) complete
3 | supply and installation of Vertical gutters (10*8) cm stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 12 | mL |  | 0
A3.4 | Beam for roof (Khar wood 10*20)cm
4 | Supply and installation of Beam for roof (Khar wood 10*20)cm best quality match with existing beam with all necessary work according to the instruction of IRC EH Engineer | 14 | m |  | 0
A3.5 | Wooden Timber ( 20*2 cm ) for roof (Khar wood)
5 | Supply and installation of Wooden Timber on the wooden beam (Khar wood (20*2)cm best quality with all necessary work according to the instruction of IRC EH Engineer | 5 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of main Gate.
1 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 17 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Carpentry work, Replacing door opening (replacing PALA)
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 8 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 14. Sad Ramazan high SC
Sad Ramazan Boys High School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Precast Slab for Covering of latrine storag ( 150cm*40cm*8cm)
1 | Supply and installation of RCC Precast Slab(150cm*40cm*8cm) for Covering of latrine storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 0.5 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 147 | m2 |  | 0
A2.2 | Supply and installation of 6 mm colour less Glasses for Main inter Doors with all necessary work .
2 | Supply and installation of 6 mm colour less Glasses for mane cooridor Door with Chofti cut 45 degree according to IRC EH.Engineer and all necessary work . | 2.8 | m2 |  | 0
A2.3 | Supply and installation Fly Screen with chofti for all opening window of latrine
3 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with best quality and will be cut under 45 degree. | 1 | m2 |  | 0
A2.4 | Door lock best quality for wooden doors
4 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 16 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Iron Sheet of roof
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 )mm smooth on the roof of school fixed by Rubber washer screw. | 6 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Door and Window Repairing
A4.1 | Carpentry work, Replacing door opening (replacing PALA)
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 26.5 | m2 |  | 0
A4.2 | Window Frame for latrine (40*40)cm
2 | supply and installation of window frame (10*8)cm with fly screen for the oppening of latrines | 1 | m2 |  | 0
A4.3 | Adjust six Doors with all necessary work
3 | Carpentary work for adjusment of existing door in classroom | 6 | Pcs |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Metallic Water Reservoir repairing
A5.1 | Supply and installation of metal Tab 1" for reservoir best quality
1 | Supply and installation of metal Tab 1" for reservoir best quality for hand washing station | 8 | Pcs |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Submersible pump 1 inch with installation and all necessary work
A6.1 | Submersible solar water pump 1 inch with installation and all necessary work
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A6.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 50 | m |  | 0
A6.3 | Robber type
3 | Water proof robber type | 1 | Pcs |  | 0
A6.4 | Plastic Pipe 1"
4 | supply and use plastic pipe 1" for submersible solar pump | 50 | m |  | 0
A6.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
A6.6 | Wire
6 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 50 | m |  | 0
Sub Total 06 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 15. Jangal Bashi High SC
Jangal Bashi Boys High school Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster work with cement and sand mortar 1:4 smooth finishing with all necessary work
1 | Repairing of latrine walls and staire case plaster with cement sand mortar (1:4) mator To remove the old cracked plaster of the Inside and outside wall damaged points and add new plaster on it. | 5 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)mm chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 4.2 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, chofti should be cut 45 degre at the corner. | 2 | m2 |  | 0
A2.3 | Iron lock for window ( Qytak / Nakhonak ).
3 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 5 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Plastic Sheet for roof
1 | Supply and installation of plastic sheet for roof | 30 | m2 |  | 0
A3.2 | Plastering of roof with mud and straw 2 coat (4cm)
2 | Mud & straw (kaagal) after plastic sheet with thickness 4cm two layer | 30 | m2 |  | 0
A3.3 | Gutters work (Vertical from GI sheet 24 gage ) complete
3 | Supply and installation of Gutters (10*8) should be installed of iron sheet 24 gage according to existing Gutters on site. | 6 | mL |  | 0
A3.4 | Wooden Timber ( 20cm*2 cm ) for roof (Khar wood)
4 | Supply and installation of Wooden Timber on the wooden beam (Khar wood (20*2)cm best quality with all necessary work according to the instruction of IRC EH Engineer | 3 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of latrine Door
1 | All Door should be clean and oil painting, 2 coats will be oil painting, oil paint is best quality. | 16 | m2 |  | 0
A4.2 | oil painting of main gate
2 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 22 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | wite washing with lime and change colour powder
A5.1 | White Washing for latrines inside with Lime and change colour powder
1 | White washing with Lime 2 coat, To remove and clear the old paint from outsid and inside of latrine walls to add the new paint it. | 75 | m2 |  | 0
A5.2 | White Washing for latrines outside with Lime and change colour powder
2 | White washing with Lime 2 coat, To remove and clear the old paint from outside of latrine walls to add the new paint it. | 85 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Door and Window Repairing
A6.1 | Repair of main gate with profil (30*60)
1 | Repair of main gate with profil (30*60) and oil paint all necessary work. | 1 | Lump.sum |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Submersible pump 1 inch with installation and all necessary work
A7.1 | Submersible pump with its Compatible inverter, control box and Fuse box in stainless steel.
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A7.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 90 | m |  | 0
A7.3 | Robber type
3 | Water proof robber type | 1 | Pcs |  | 0
A7.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 100 | m |  | 0
A7.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 07 |  |  |  |  | 0
Part 8 | Solar System Compleate
A8.1 | Solar System Compleate
1 | (Conformity European)(IECCE)(International Electro technical Commission)(& iec60904, IEC61215,IEC61646,IEC62108,IEC61730). | 8 | psc |  | 0
A8.2 | Electrical cable
2 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 20 | m |  | 0
A8.3 | Electrical cable
3 | Supply and installation of electrical cable 3x2.5 Maghan- Herati best quality. | 90 | m |  | 0
A8.4 | PCC for fundation of solar pannel frame
4 | PCC 1:2:4 Work for fundation of solar frame according to the technical drawing | 0.2 | m3 |  | 0
A8.5 | Frame for 8 solar Panel
5 | Supply and installation of the Galvanized Angle iron frame for 12th solar panels (Non-Movable and Movable with RCC foundation Work according to drawings with required materials and works and IRC focal point will be select the type of frame as need (punctual) | 1 | Lump.sum |  | 0
A8.6 | Inverter
6 | Supply and installation of 2.2 kW Solartech brand best quality IP65 Pump inverter one year warranty under specific condation or equivalent | 1 | Pcs |  | 0
Sub Total 08 |  |  |  |  | 0
Part 9 | Metal Hand Washing Station
A9.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A9.2 | Hand Washing Station
2 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total 09 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 16. Number 2 boys high SC
Number 2 Boys High School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Demolishing of Existing Concrete
1 | Demolishing of Existing settled PCC in varenda, the old existing concrete is damaged & break down it must be demolised with pic axe and sowel should be broken & the broken pieces of Concrete will be filled and compacted under new PCC. | 5 | m3 |  | 0
A1.2 | Filling and compaction
2 | the demolished pieces of concrete should be well compacted under the new PCC. | 2.6 | m3 |  | 0
A1.3 | PCC 1:2:4 concrete for Veranda T = 10cm, With all necessary work
3 | PCC 1:2:4 M concrete infront of classes on floor should be cast on old pices of broken compacted concrete according to the scope of work , with all necessary work and instruction of IRC EH.Engineer. | 3.8 | m3 |  | 0
A1.4 | Repairing of Plaster with cement sand mortar 1:4 smooth finishing with all necessary work
4 | Repairing of latrine walls and staire case with plaster cement sand mator (1:4) To remove the old cracked plaster of the Inside and outside wall damaged points and add new plaster on it. | 85 | m2 |  | 0
A1.5 | Burn Brick Masonry with mortar 1:4 for Column and karniz Veranda with all necessary work
5 | Brick masonry of first class (A) burnt Brick with mortar 1:4 for Column and karniz with all necessary work according to the instruction of IRC EH.Engineer. | 6.9 | m3 |  | 0
A1.6 | Inside Zero chips
6 | Zero chips plastering Inside existing water reservior | 15 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden (10*20)chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 28.8 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, chofti should be cut 45 degree at the corner. | 2 | m2 |  | 0
A2.3 | Door lock best quality for metal main gate
3 | Door lock best quality with the price of 1000 up to 1200 AFs/ for the existing doors and installation. | 1 | Pcs |  | 0
A2.4 | White Washing for latrines inside and outside with Lime and change colour powder
4 | White washing with Lime 2 coat, To remove and clear the old paint from outsid and inside of latrine walls to add the new paint it. | 150 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Plastic Sheet for roof
1 | Supply and installation of plastic sheet for roof | 160 | m2 |  | 0
A3.2 | Plastering of roof with mud and straw 2 coat (4cm)
2 | Mud & straw (kaagal) after plastic sheet with thickness 4cm two layer | 160 | m2 |  | 0
A3.3 | Gutters work (Vertical from GI sheet 24 gage ) complete (7*10) cm
3 | Supply and installation of Gutters should be installed of iron sheet 24 gage according to existing Gutters on site. | 20 | mL |  | 0
A3.4 | Demolishing of existing (veranda)
4 | Demolish of existing mud and straw Veranda by labours to replace I-beam. | 50 | m2 |  | 0
A3.5 | Double I Beam for (Veranda)
5 | Replacing Double I-Beam(weld two I-Beam of 14cm, 115kg togather ) of veranda roof. | 25 | m |  | 0
A3.6 | Mat (Borya) for (veranda)
6 |  | 50 | m2 |  | 0
A3.7 | Ghora gel for (varenda) with thicness 10 cm
7 |  | 50 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.3 | Oil Painting of latrine Door
1 | all Doors should be clean and oil painting, 2 coats will be oil painting, oil paint is best quality. | 19 | m2 |  | 0
A4.4 | oil painting of main gate 2coat
2 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 22 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Carpentry work, Replacing door opening (replacing PALA)
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 13.5 | m2 |  | 0
A5.2 | Adjust and repair of main gate with angle iron (30*60)mm
2 | Adjust and repair of main gate with angle iron (30*60) or according to the visit of site | 1 | Lump.sum |  | 0
A5.3 | Making and installation of window frame (50cm*50cm)
3 | supply and installation of window frame (50cm*50cm) with fly screen for the oppening of latrines | 0.75 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Water Well Repairing
A6.1 | Repairing of Water Well with all necessary work according to IRC EH Engineer instruction
1 |  | 1 | Lump.sum |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Submersible pump 1 inch with installation and all necessary work
A7.1 | Submersible pump 1 inch with installation and all necessary work
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A7.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 90 | m |  | 0
A7.3 | Robber type
3 | Water proof robber type | 1 | Each |  | 0
A7.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 80 | m |  | 0
A7.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 07 |  |  |  |  | 0
Grant Total : |  |  |  |  | 0

## 17 . Zerdkamar Boys school
Zerdkamer Boys Secondary School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | PCC 1:2:4 concrete for on the roof of building T = 3cm, all necessary work
1 | PCC 1:2:4 concrete the top of roof RCC slab to make the roof slop to guide the water to the gutter T = 3 cm, with all necessary work according to scop of work and instruction IRC EH Engineer | 6 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Roof and Gutter
A2.1 | Gutters work (Vertical from GI sheet 24 gage )size 10*8 cm complete
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 13 | ml |  | 0
A2.2 | Isogam layer on RCC slab
2 | suply and installation of isogam (3-4)mm on the roof, roll of isogam should overlap on another roll minimum 10cm. | 783 | m2 |  | 0
A2.3 | Kahgel after isogam layer( mud and straw plaster )
3 | Mud & straw plaster after isogam layer with thickness 4cm the gaps of Kagal should be filled with sand. | 783 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 18. Yamchi Boys Primary school
Yamchi Boys Primary School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part1 | Other work
A1.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colourless Glasses with wooden chofty for windows and Doors, chofti should be cut 45 at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 14 | m2 |  | 0
A1.2 | Non presseure PVC vent pipe for latrine 3"
2 | Non presseure 3" PVC vent pipe should be installed at the corner of latrine to not disturb anyone. | 3 | m |  | 0
A1.3 | Supply and installation Fly Screen with chofti for all opening window of latrine
3 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, the wooden chofti should be cut 45 degree at the corner. | 2 | m2 |  | 0
A1.4 | Door lock best quality for the existing doors
4 | Door lock best quality for the existing doors the price of 1000 up to 1200 AF with all necessary work | 13 | Pcs |  | 0
A1.5 | Iron lock for window ( Qytak / Nakhonak ). For existing window
5 | iron lock best quality/with the price of 150 AF for the existing doors and installation | 20 | Pcs |  | 0
A1.6 | Iron lock (Qalfak ihani watani) for latrine doors.
6 | Iron lock for latrine door ( Qytak / Nakhonak ). With the price of 150 AF For existing window | 10 | Pcs |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Roof and Gutter
A2.2 | Gutters work (Vertical from GI sheet 24 gage )size 10*8 cm complete
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 3.2 | mL |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Oil Painting
A3.3 | Oil painting metalic main gates smal & big gates two coats
1 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 16 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Part 4 | Door and Window Repairing
A4.1 | Ajustment of intrior class room doors
1 | Adjustment of installed khar wooden doors and Windows with Frames and checking all doors and window and adjusting that with all necessary work according to the technical scope of work. | 6 | Pcs |  | 0
A4.2 | Making & installation of new pala for windows
2 | Making and installation of new wooden window the frame shuould be 10*8 or match to the old existing windows With all necessary Requirment | 0.5 | m2 |  | 0
A4.3 | Repeairing of metalic main gate small & big size doors
3 | Repair of main gate with profil (30*60) and oil paint all necessary work. | 2 | Lump.Sum |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Submersible pump 1 inch with installation and all necessary work
A5.1 | Submersible pump with its Compatible inverter, control box and Fuse box in stainless steel.
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A5.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 75 | m |  | 0
A5.3 | Robber type
3 | Water proof robber type | 1 | Each |  | 0
A5.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 100 | m |  | 0
A5.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Solar System Compleate system competely
A6.1 | Solar Panel
1 | (Conformity European)(IECCE)(International Electro technical Commission)(& iec60904, IEC61215,IEC61646,IEC62108,IEC61730). | 8 | pcs |  | 0
A6.2 | Electric Cable
2 | Supply and installation of electrical cable 2x4 Maghan-Herati best quality. | 100 | m |  | 0
A6.3 | PCC for fundation of solar pannel frame
3 | PCC 1:2:4 Work for fundation of solar frame according to the technical drawing | 0.2 | m3 |  | 0
A6.4 | Frame for 8 solar Panel
4 | Supply and installation of the Galvanized Angle iron frame for 12th solar panels (Non-Movable and Movable with RCC foundation Work according to drawings with required materials and works and IRC focal point will be select the type of frame as need (punctual) | 1 | Lump.sum |  | 0
A6.5 | Inverter
5 | Supply and installation of 2.2 kW Solartech brand best quality IP65 Pump inverter one year warranty under specific condation or equivalent | 1 | Each |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Metal Hand Washing Station
A7.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A7.2 | Hand Washing Station
2 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total 09 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 19. Quzi Boys Secondry school
Quzi Boys Secondary School Khan Abad district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster wok with cement and sand mortar 1:4 smooth finishing with all necessary work
1 | Plastering work for the old latrine out side and inside walls the old plaster should remove the new plaster should be done out side and indside walls of latrine. According to the scope of work , with all necessary work and instruction of IRC EH.Engineer and ETC. | 70 | m2 |  | 0
A1.2 | PCC 1:2:4 concrete for side walk, ramp, and outside stairs, T = 10cm, all necessary work
2 | Concrete for repairing of ramp stair.according to the scope of work with all necessary work and instruction of IRC EH.Engineer. | 1.5 | m3 |  | 0
A1.3 | Burn Brick Masonry with cement sand mortar 1:4 for repairing of latrine stair and carniz case with all necessary work
3 | Burn Brick Masonry class A with cement sand mortar 1:4 for repairing of Latrine stair and carniz case with all necessary work according to the instruction of EH Engineer | 2 | m3 |  | 0
A1.4 | RCC Precast Slab for Covering of latrine storage
4 | Supply and installation of RCC Precast Slab(120cm*40cm*8cm) for Covering of latrine storag made of concrete M200 according to technical drawing and instruction of IRC EH.Engineer | 0.7 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colourless Glasses with wooden chofty for windows and Doors, chofti should be cut 45 at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 12 | m2 |  | 0
A2.2 | Non presseure PVC vent pipe for latrine 3"
2 | Non presseure 3" PVC vent pipe should be installed at the corner of latrine to not disturb anyone. | 18 | m |  | 0
A2.3 | Supply and installation Fly Screen with chofti for all opening window of latrine
3 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, the chofti should be cut 45 degree at the corners. | 1 | m2 |  | 0
A2.4 | Door lock best quality for the existing doors
4 | Door lock best quality/with the price of 1000 up to1200 Af for the existing doors and installation | 8 | Pcs |  | 0
A2.5 | Iron lock for window ( Qytak / Nakhonak ). For existing window
5 | Iron lock for window ( Qytak / Nakhonak ). With the price of 150 AF For existing window | 40 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Iron sheet of latrine roof
1 | Construction of latrine roof with iron sheet smooth 24 gage(0.5)mm | 21 | m2 |  | 0
A3.2 | Gutters work (Vertical from GI sheet 24 gage )size 10*8 cm complete
2 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 12 | mL |  | 0
A3.3 | wooden pole diameter 10 cm L= 2.5m
3 | wooden pole diameter 10 cm L= 2.5m under iron sheet with suitable slope for latrine roof | 24 | pcs |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of metalic door of main cooridoor
1 | the metalic door should be first clean with sand paper then will paint with oil paint two coats according to the scope of work. | 12 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Making and installation of 6 new metalic doors with all necessary work
1 | The Steel worker should be make and install 6 new metalic door will necessary work and paint with oil paint 2coats. | 9.44 | m2 |  | 0
A5.2 | Making & installation of door 7 new wooden pala with all necessary work
2 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 12 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Part 6 | Hand Digging of new Water Well
A6.1 | Digging of new water well
1 | Digging of new water well by hand dia=1m and 35m deep/the water should be standing 5m under water table | 35 | m |  | 0
A6.2 | concrete chak outer dia=90cm, h=40
2 | Supply and installation o concrete chak with all necessary work under the instruction of EH engineer | 90 | pcs |  | 0
A6.3 | RCC circular slab
3 | Supply and installation of RCC top ring for covering of well | 1 | pcs |  | 0
Sub Total 06 |  |  |  |  | 0
Part 7 | Submersible pump 1 inch with installation and all necessary work
A7.1 | Submersible pump 1 inch with installation and all necessary work
1 | Supply and installation of 1" submersible 1HP/0.75KW, Max Head 85 National pump or equivalent | 1 | set |  | 0
A7.2 | Rope
2 | Rope for Submersible pumps (12mm) with required works | 75 | m |  | 0
A7.3 | Robber type
3 | Water proof robber type | 1 | Each |  | 0
A7.4 | PPR1" HDPE
4 | PPR 1" HDPE pipe with installation | 35 | m |  | 0
A7.5 | Gate Valve
5 | Supply and istallation of 1" gate valve for water tanks best quality | 1 | pcs |  | 0
Sub Total 07 |  |  |  |  | 0
Part 8 | Metal Hand Washing Station
A8.1 | (PCC) Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4
1 | PCC Under the hand washing frame with thickness 10 cm and cement sand mortar 1:4 | 0.6 | m3 |  | 0
A8.2 | Hand Washing Station
2 | Suppy and installation of comletely hand washing station these matterials including,PVC pipe 4",back filling with compaction,metallic reservior 500L, ,provision and installation of plumbing, steel welding services and manufacturing work, provision and manufacturing of hand wash basin and transportation cost for dellivering to the slected sites.). | 1 | Lump.sum |  | 0
Sub Total 08 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 20.AAq Masjid Boys High school
Aaq Masjid Boys High School Imam sahib district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, PCC, RCC and Burnt breack Work
A1.1 | Plaster wok with cement and sand mortar 1:4 and smooth finishing with all necessary work
1 | Plaster of cemnet sand mortar 1:4 for latrine stair .According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 60 | m2 |  | 0
A1.2 | cemnet sand mortar 1:4 to fill the gaps of precast slab to be ready for Isogam.
2 | Cement sand mortar to filled the gaps of precast slab to be ready for Isogam, according to scope of work, with all necessary work and instruction of IRC EH.Engineer | 1066 | m/L |  | 0
A1.3 | Burn Brick Masonry with Cemnet Sand mortar 1:4 for repairing of Latrine stair case with all necessary work
3 | Burn Brick Masonry class A with mortar 1:4 for repairing of latrine stair case and Karniz of latrine roof According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 2 | m3 |  | 0
A1.4 | Precast Slab for roof of school building repairing
4 | Supply and installation of Precast Slab for roof repairing with all necessary work . | 5 | m2 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colourless Glasses with wooden chofty for windows and Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 21 | m2 |  | 0
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, the chofti should be cut 45 degree. | 1 | m2 |  | 0
A2.3 | Door lock best quality
3 | Door lock best quality with the price of 1000 up to 1200 AFs for the existing doors and installation. | 15 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Gutters work (Vertical from GI sheet 24 gage )size 10*8 cm complete
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, by size (10*8)cm on the wall fixed by ring/clamp of iron sheet and steel screw. | 30 | mL |  | 0
A3.2 | Removal of soil from roof of school building to be ready for Isogam
2 | Removal of soil from the roof by labour with showals and clean the gaps of precast slab and fill with plaster mortor the soil shuold transfred away from the school area. | 107 | m3 |  | 0
A3.3 | Isogam layer on precast slab for school building & latrine
3 | The best quality isogam (3-4)mmshould be supply and installation of Isogam roll on the roof surpace of school building , the roll overlape another roll minimum 10 cm. | 551 | m2 |  | 0
A3.4 | Kahgel after isogam layer( mud and straw plaster )
4 | Mud & straw plaster after isogam layer with thickness 4cm the gaps of Kahgal should be fill with fine sand. | 551 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Door and Window Repairing
A4.1 | Carpentry work, Replacing door opening (replacing PALA)
1 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 1.3 | m2 |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Water Well Repairing
A5.1 | Hand pump compleately
1 | Pamir complete hand pump set with 15 double hooks rods corrosion resistance, with all required items best quality of all parts of hand pump set specs indicated in SoP. | 1 | set |  | 0
A5.2 | Plastic Rope
2 | Supply and installition of best quality plastic rope. | 34 | m |  | 0
A5.3 | PVC Pipe 2 " Rasing main Class E
3 | UPVC2" raising main pipe 63mm with outer dia and 4.77mm wall thicnee along with socket weight 4kg. | 15 | m |  | 0
A5.4 | American Glue 717 for PVC pipe connection
4 | American Glue 717 for PVC pipe connection | 0.5 | kg |  | 0
Sub Total 05 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 21. Naswan 2 Girls High scho
Naswan Number 2 High School Imam Sahib district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1 | Plaster work with Cement Sand mortar 1:4 and smooth finishing with all necessary work
1 | Plaster of the damaged walls, water reservoir bricks wall & plaster of main gate columns According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 160 | m2 |  | 0
A1 | PCC 1:2:4 concrete for side walk, ramp, and outside stairs, T = 10cm, with all necessary work
2 | Concrete for repairing of main small and big gates According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 2 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colourless Glasses with wooden chofty for windows and Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 52 | m2 |  | 0
A2.2 | Supply and installation of one metallic reservior on roof with all necessary work.
2 | Supply and installation of new medtalic reservior painting with stainsless steel inter and out side. | 1 | pcs |  | 0
A2.3 | Door lock best quality
3 | Door lock best quality with the price of 1000 up to 1200 AFs for the existing doors and installation. | 25 | Pcs |  | 0
A2.4 | Iron lock for window ( Qytak / Nakhonak ).
4 | Door lock best quality/with pricee 150 Af for the existing doors and installation | 80 | Pcs |  | 0
A2.5 | Cheack and ajustd the all water reservior pipe.
5 | Plumbing man should check all the tank elevation net work pipe & valves. | 1 | Lump.Sum |  | 0
A2.6 | Repairing & welding of metalic reservior
6 | The worker should welding and repair the tank elevation reservior which is damaged in the previous war. | 1 | Pcs |  | 0
A2.7 | Two Gate valves for big metalic reservior
7 | supply and installation two (Caze) valves best quailty. | 2 | Pcs |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Oil Painting
A3.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 44 | m2 |  | 0
A3.2 | Oil painting of of 6 wooden doors of class room two coats
2 | all Door should be clean and oil painting, 2 coats will be oil painting, oil paint is best quality. | 40 | m2 |  | 0
A3.3 | Oil Painting of two metalic main gates small & big size 2 coats
3 | the metalic door should be first clean with sand paper then will paint with oil paint two coats according to the scope of work. | 25 | m2 |  | 0
A3.4 | Oil painting of big metalic reservior 2 coats
4 | the metalic reservior should be first clean with sand paper then will paint with oil paint two coats according to the scope of work. | 20 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Door and Window Repairing
A4.1 | Making and installation of 3 pala for windows with all necessary work
1 | supply and installation of new PALA for windows with all necessary work to be match with the existing windows of school. | 3 | m2 |  | 0
A4.2 | Carpentry work, Replacing door opening (replacing PALA)
2 | Carpentry work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 6 | m2 |  | 0
A4.3 | Repairing of existing metallic main big gate (248*300)cm and small gate(90*248)cm with all nacessary work
3 | Repairing of existing metalic main big gate (248*300)cm and small gate(90*248)cm with all nacessary work | 1 | Lump.Sum |  | 0
Sub Total 04 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 22. Ab. Rahman Abni Auwf
Abdul Rahman Abni Auwf School surrounding wall Hazrati Imam Sahib District Kunduz Province
| Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, Stone masonry and Burnt breack Work
A1.1 | Excavation
1 | Excavation of foundation | 108 | m3 |  | 0
A1.2 | PCC 1:2:4 M 150 concrete
2 | PCC 1:2:4 150 concrete under the stone masonry tichness 10 cm, on top of stone masonry 5cm and on the top of brick masonry 7cm with shuttering and all necessary work according to technical drawing. | 27 | m3 |  | 0
A1.3 | Burnt Brick Masonry with cement sand mortar 1:4
3 | Brick masonry of first class (A) burnt Brick with cemnet sand mortar 1:4 for boundary wall with all necessary work according to the instruction of IRC EH.Engineer. | 70 | m3 |  | 0
A1.4 | Stone Masonry
4 | Stone masonry with M1:4 with all necessary work | 105 | m3 |  | 0
A1.5 | plaster work
5 | Plastering inside and outside boundary wall with M 300 with all necessary work | 600 | m2 |  | 0
A1.6 | Pointing of Stone masonry
6 | pointing of Stone masonry boundary wall. | 150 | m2 |  | 0
A1.7 | Back Filling
7 | Back Filing of stone masonry of boundary wall. | 40 | m3 |  | 0
A1.7 | Main gate
7 | Supply and installation of 3mm sheet gate with 3 pairs ALFAZ, painting with all required activities as instruction of Site Engineer. | 1 | lump.sum |  | 0
Grant Total |  |  |  |  | 0

## 23. Eski Boys High school
Eski Boys High school Imam Sahib district Kunduz Province
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Plaster, Pcc, RCC and Burnt breack Work
A1.1 | Plaster wok with cement sand mortar 1:4 smooth finishing with all necessary work
1 | Plaster of cemnet sand mortar of latrine stair According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 250 | m2 |  | 0
A1.2 | Cement sand mortar 1:4 to be filled the gaps of precast slab to be ready for Isogam roof of bailding school.
2 | Cement sand mortar to be filled the gaps of precast slab to be ready for Isogam roof of bailding school, according to scope of work, with all necessary work and instruction of IRC EH.Engineer | 1066 | m/L |  | 0
A1.3 | Burn Brick Masonry with cement sand mortar 1:4 for repairing of toilet stair case with all necessary work
3 | Burn Brick Masonry class A with cemnet sand mortar 1:4 for repairing of Latrine stair, school corridor stairs.According to scope of work , with all necessary work and instruction of IRC EH.Engineer. | 4.5 | m3 |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Other work
A2.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine, the chofti should be cut 45 degree. | 1 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Roof and Gutter
A3.1 | Gutters work (Vertical from GI sheet 24 gage )size 10*8 cm complete
1 | supply and installation of stainless steel iron sheet 24 Gage ( 0.5 ) best quality, on the wall fixed by ring/clamp of iron sheet and steel screw. | 40 | m/L |  | 0
A3.2 | Removal of soil from roof of school building to be ready for Isogam
2 | Removal of soil from the roof by labour with showals and clean the gap of precast slab and fill with plaster mortar, the soil should be tranfer away from school area. | 107 | m3 |  | 0
A3.3 | Isogam the roof of school building and latrine roof
3 | The best quality isogam (3mm-4mm) should be supply and install on the roof surface of school building , Isogam should be overlap minimum 10 cm one another. | 544 | m2 |  | 0
A3.4 | Mud & sraw plaster(Kahgel) after isogam layer should done
4 | Mud & straw plaster after asogam layer with thickness 4cm the gap of Kahgel should be filled with fine sand. | 544 | m2 |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Oil Painting
A4.1 | Oil Painting of Black Board
1 | All black boards first should be plaster with grout mortar and then will be paint with the special black oil paint two coats, according to the scope of work and instruction of IRC EH.Engineer. | 23 | m2 |  | 0
A4.2
Sub Total 04 |  |  |  |  | 0
Part 5 | Door and Window Repairing
A5.1 | Making and installation of 2 wooden new pala of west and east cooridor doors
1 | Carpentery work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 4 | m2 |  | 0
A5.2 | Carpentery work, Replacing door opening (replacing PALA)
2 | Carpentery work of repairing door with plywood(7 layer 10mm هفت پوست ) of damaged door | 5 | m2 |  | 0
Sub Total 05 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0

## 24. boys High school
Zerkharid Boys High school Kunduz center
SN | Description of the works | Quantity | Unit | Unit price in (AFN) | Total price (AFN)
Part 1 | Other work
A1.1 | Supply and installation of 4 mm colour less Glasses for Door and window with all necessary work .
1 | Supply and installation of 4 mm colour less Glasses with wooden chofty for windows and wooden chofty for Doors, chofti should be cut 45 degree at corner according to IRC EH.Engineer and technical scope of work with all necessary work . | 1.3 | m2 |  | 0
A1.2 | Supply and installation Fly Screen with chofti for all opening window of latrine
2 | Supply and installation of fly screen with wooden chofti for all opening of windows of latrine with good quality and will be cut under 45 degree. | 1.2 | m2 |  | 0
A1.3 | Door lock best quality for class rooms
3 | Door lock best quality with the price of 1000 up to 1200 AFs for the existing doors and installation. | 13 | Pcs |  | 0
A1.4 | Iron lock for window ( Qytak / Nakhonak ).
4 | Best quality Iron lock (qytak/nakhonak) with the price of 150 Afs for existing windows | 16 | Pcs |  | 0
A1.5 | Iron lock for doors latrine ( Qytak ).
5 | Best quality Iron lock (qytak) with the price of 100 Afs for existing doors | 10 | Pcs |  | 0
A1.6 | Supply and installation steel handrail for ramp
6 | Supply and installation steel handrail for ramp with all necessary work | 7 | M/L |  | 0
Sub Total 01 |  |  |  |  | 0
Part 2 | Oil Painting
A2.1 | Oil Painting of main Gate.
1 | Oil painting of main gate, Main gates should be first clean with sand paper then apply two coats of oil paint. | 21 | m2 |  | 0
Sub Total 02 |  |  |  |  | 0
Part 3 | Door and Window Repairing
A3.1 | Adjustment of all Doors of Class room
1 | Carpenter should be adjust all classroom's door | 12 | Lump.sum |  | 0
Sub Total 03 |  |  |  |  | 0
Part 4 | Electrical work
A4.1 | supply and installation of main fues box
1 | supply and installation of main fues box | 1 | Pcs |  | 0
A4.2 | Wire( 2*2.5mm) Maghan best quality
2 | Supply and installition of double wire | 230 | m |  | 0
A4.3 | Main Joint box
3 |  | 1 | Pcs |  | 0
A4.4 | Sub Joint box for all class
4 |  | 12 | Pcs |  | 0
A4.5 | Supply and installation of Switch for celling fans best quality
5 | Supply and installation of switch for celling fans best quality | 24 | Pcs |  | 0
A4.6 | Supply and installation of bulbs switch best quality
6 | Supply and installation of switch for blubs best quality | 17 | Pcs |  | 0
A4.7 | Supply and installation of Candovite for eletrick wire extestion on wall surpace
7 | Supply and installation of candovite (25*16 )mm for eletrick wire extestion on wall surpace. | 230 | m |  | 0
A4.8 | Supply and installation of ceiling fan (56 in) with all required activitie
8 | new installation of ceiling fan Al-shaikh or equivalent with all required activitie | 24 | Pcs |  | 0
A4.9 | Supply and installation of projetor bulb for main gate
9 | supply and installation of projetor bulb for main gate | 1 | Pcs |  | 0
Sub Total 04 |  |  |  |  | 0
Part 5 | Water Well Repairing and wash System
A5.1 | Tab for water reservoir 1" best quality
1 | Supply and installation best quality tab for reservior | 10 | Pcs |  | 0
Sub Total 05 |  |  |  |  | 0
Grant Total: |  |  |  |  | 0